## Final As Built Checklist
FY2015 Renewable Energy Incentive Program (REIP)
Renewable Electric Storage Competitive Solicitation
Final As-Built Checklist - Page 1
In order to receive an incentive payment, applicants will need to submit a Final As-Built packet once the project has been built, has received local code inspection, and is interconnected to the New Jersey distribution system (if applicable). In order for an installation to be deemed complete and ready for a New Jersey’s Clean Energy Program (NJCEP) inspection, the following requirements must be completed and submitted to the Market Manager. A complete Final As-Built Packet must be received on or before the project expiration date. The Final As-Built packet must include the documentation listed below:
The Final Application Form signed by the applicant/site host contact, installer and system owner, if different from applicant. This document is the third page of the REIP approval letter, which is sent to all applicants receiving a rebate commitment in the REIP.
A revised REIP Technical Worksheet with the correct rebate calculation if the system size, installation costs or any other data has changed since the initial application submittal, subject to compliance with the requirements in section 7.2 of the Solicitation.
Completed and signed Final As-Built Technical Worksheet – Renewable Electric Storage. The authorized representative for each party listed at the bottom of the Technical Worksheet must sign the form in the designated space.
Documentation of installed system costs. These costs must be documented by invoices from the vendor(s), as well as proof of customer purchase (copy of customer’s check, credit card receipt or lease contract and documentation). Submit updated list of key system components and other costs that support the system cost information listed on the Final As-Built Technical Worksheet, if applicable.
A copy of a New Jersey Tax Clearance Certificate (needed only for commercial, nonprofit, farms, and public projects that enter into a PPA); not required for projects owned by a public entity. Form is available at http://www.njcleanenergy.com/misc/renewable-energy/tax-clearance-certificate.
A one-page final site map (if the site map has changed from initial application submittal).This document can be an overhead view drawing or a single line electrical diagram and must clearly indicate the specific location of the energy storage system, the renewable energy system, the inverters for both the energy storage and renewable energy systems, any and all meters associated with this project, batteries and the point of connection with the utility system. The installation address, current electric utility account number at that address, and the installer’s name and telephone number must also be included on the site map.
A copy of the signed Electrical Uniform Construction Code Inspection (UCC) Certificate and other applicable permits. NJCEP rebates are contingent upon the applicant meeting all other program requirements, including but not limited to compliance with the host Electric Distribution Company's (EDC) interconnection requirements (see below) and compliance with all applicable local state and federal laws, permit requirements and regulations.
FY2015 Renewable Energy Incentive Program (REIP)
Renewable Electric Storage Competitive Solicitation
Final As-Built Checklist - Page 2
If required by the EDC; EDC Notification - the written notification provided by the EDC to the customer-generator that the system is authorized to be energized. Requirements after approval of an interconnection - once the EDC performs an inspection or determines that no inspection is needed and has received an executed interconnection agreement from the customer-generator; the EDC shall notify the customer-generator in writing that the customer-generator is authorized to energize the customer-generator facility. Note: If this document is not included in the Final As-Built paperwork, and the remainder of the Final As-Built paperwork is complete, the project will not be considered expired. However, the program inspection or inspection waiver will not be scheduled until this document is received by the Market Manager. Any premium or reduction in the incentive (see Section 3.4 of the Solicitation) shall be calculated on the basis of the date the completed Final As-Built paperwork is received.
Representative digital photographs of the system. The photos shall be a minimum of 5” x 7” at 300 DPI and must include: 1) the energy storage system; 2) the renewable energy system; 3) the storage system inverter; and 4) site changes if any from original application or registration.
Once the paperwork is deemed complete, the project will enter the NJCEP’s Quality Control (QC) on-site inspection process. Since installers are expected to be present for the inspection of all projects, the Market Manager will email the installer within one week to schedule the inspection.
Please mail or deliver all material to:
Renewable Energy Incentive Program
New Jersey's Clean Energy Program
c/o Conservation Services Group
75 Lincoln Highway, Suite 100
Iselin, NJ 08830

## Tech WS Instructions
FY2015 Renewable Energy Incentive Program (REIP)
Renewable Electric Storage Competitive Solicitation
Final As-Built Technical Worksheet - Page 1
Please read carefully all of the following information. With the help of your installer/developer, fully complete all sections of this REIP Renewable Electric Storage Final As-Built Technical Worksheet.
PROGRAM TERMS AND CONDITIONS
To qualify for an incentive, the applicant must comply with all Renewable Energy Incentive Program (REIP) eligibility requirements, terms and conditions, installation requirements and submit all required Final As-Built forms.
The payment of incentives is contingent upon the applicant meeting all other program requirements, including but not limited to compliance with the host Electric Distribution Company's (EDC) interconnection requirements and compliance with all applicable local state and federal laws, permit requirements and regulations.
PROGRAM INSTALLATION REQUIREMENTS
1. | The installation must comply with the provisions of the National Electrical Code (NEC) and all other applicable local, state, and federal codes and permit requirements or practices. All required permits must be properly obtained and posted.
2. | All required inspections (Electrical/NEC, local building codes enforcement office inspection, etc.) must be performed. In order to ensure compliance with provisions of the NEC, an inspection by a state-licensed electrical inspector is mandatory. The REIP inspection will be performed after the local building code enforcement office has inspected the project.
3. | Energy storage systems must be properly installed according to manufacturer’s instructions and must comply with the interconnection and protection requirements of the local EDC.
4. | System wiring must be installed in accordance with the provisions of the NEC.
5. | Warning labels must be posted on the control panels and junction boxes indicating that the circuits are energized by an alternate power source independent of utility-provided power.
6. | Operating instructions must be posted on or near the system, or on file with facilities operation and maintenance documents.
A. SITE HOST FACILITY INFORMATION
1. | REIPR Number: The number that was assigned in the REIP Approval letter for the corresponding project.
2. | Applicant Name: The name of the person listed on the REIP Application form under Section A "Applicant/Site Host"
3. | Company Name: The name of the company listed on the REIP Application form under Section A "Applicant/Site Host"
B. RENEWABLE ENERGY SYSTEM INFORMATION
The NJ Class I renewable electric generating equipment listed in this section of the Final As-Built Technical Worksheet must be a true representation of the equipment that was either installed at the host site prior to the REIP Application submittal or was installed at the host site in connection with the installation of the energy storage system.
Average Annual Production: If RE system installed less than one year, estimates will be accepted.
C1. ENERGY STORAGE EQUIPMENT INFORMATION
The equipment listed in this section of the Final As-Built Technical Worksheet must be a true representation of the equipment installed at the site.
For applicants with multiple storage units, the total capacity of the installed project and the capacity of each individual unit must be clearly identified.
Depth of Discharge Percent: The minimum depth of charge that the manufacturer recommends be maintained for the battery system. For example a 20% Depth of Discharge means that up to 80% of the battery system energy may be discharged in order to maintain a minimum charge of 20% of the battery system energy rating.
C2. INVERTER INFORMATION
The equipment listed in this section of the Final As-Built Technical Worksheet must be a true representation of the equipment installed at the site.
FY2015 Renewable Energy Incentive Program (REIP)
Renewable Electric Storage Competitive Solicitation
Final As-Built Technical Worksheet - Page 2
D. INTENDED ENERGY STORAGE OPERATION AND BENEFITS
The site host facility must be classified as to whether it is a "public and critical facility". For the purpose of this solicitation, the following definition will be used which may be subject to change in subsequent proceedings or the next solicitation round: "Critical facilities” means public facilities, including federal, state, county or municipal facilities, non-profit and/or private facilities, including hospitals and communication centers determined to be Tier I or critical infrastructure facilities by the Office of Emergency Management and/or Office of Homeland Security and Preparedness.
Critical loads at the host site must be identified and quantified regardless of whether the facility is classified as “public and critical."
E. COMMISSIONING INFORMATION
Commissioning information which verifies that the system has been tested and is functioning as per system design.
F. INCENTIVE REQUEST AND SYSTEM COST INFORMATION
Applicants must supply cost information that is accurate and reflects the total installed cost of the storage system. Cost data can be submitted for protection under New Jersey’s Open Public Records Act (OPRA) by following the Board’s procedures found at www.nj.gov/bpu.
G. CERTIFICATIONS
By signing the certification, the installer/developer, site host contact/applicant and system owner, if different, attest to the accuracy and completeness of the information. A certified digital signature is accepted.
The signature for the installer shall be from an Officer, Principle or Executive of the company that has signing authority for the company.

## Electric Storage TWS Pg 1
FY2015 Renewable Energy Incentive Program (REIP)
Renewable Electric Storage Competitive Solicitation
Final As-Built Technical Worksheet
A. SITE HOST FACILITY INFORMATION
REIP Number:
Applicant Name: |  |  | Company Name:
Does facility operate 24/7/365? |  | Yes No | If no, how many hours does it operate annually?
Total facility load: |  | kW
B. RENEWABLE ENERGY SYSTEM INFORMATION
SRP, REIP or CORE Project Number:
Type of System: |  | Solar | Wind | Biomass
System Capacity: |  | DC kW | Date of RE system's authorization to energize:
Average Annual Production(Est./Actual): |  |  |  | kWh
C1: ENERGY STORAGE EQUIPMENT INFORMATION
1. Energy Storage Type: |  | Battery | Fly Wheel Other (Please specify):
2. If Battery, what type of Battery: |  | Lead Carbon | Lithium Ion Other (Please specify):
3. Manufacturer:
4. Model Number:
5. Capacity Rating of each Battery Unit: |  | 0 | DC Watts | Number of Battery Units: |  | 0
6. Total System Capacity Rating: |  | 0 | DC Watts (No. of Battery Units x Capacity Rating)
7. Storage System Energy Output: |  |  | kWh
8. Round-trip Efficiency: |  |  | %
9. Depth of Discharge: |  |  | %
10. Date of Local Inspection for
Storage System:
C2. INVERTER INFORMATION
1. Inverter Manufacturer:
2. Inverter Model Number:
3. Number of Inverters:
4. Capacity of each inverter:
5. Total Capacity of Inverters:
6. Inverter Efficiency: |  |  | %
7. Is the inverter solely dedicated to the storage system? |  |  | Yes No
D. INTENDED ENERGY STORAGE OPERATION AND BENEFITS
1. Does facility meet the definition of public and critical facility? |  |  | Yes No
2. What will storage system be used for? Check all that apply:
Load Shifting | Emergency Backup |  | Frequency Regulation
E. COMMISSIONING INFORMATION
1. The facility's critical load to be met by the project during time of emergency: |  |  |  |  | AC kW
2. What is the length of time that a critical load can be met during time of emergency? |  |  |  |  | Hours
3. Does system have islanding capabilites? |  |  | Yes No
4. Is the storage equipment listed on the Final As Built Technical Worksheet different from the equipment listed on the initial
Technical Worksheet that was submitted with the REIP Application packet?
Yes No

## Electric Storage TWS Pg 2
FY2015 Renewable Energy Incentive Program (REIP)
Renewable Electric Storage Competitive Solicitation
Final As-Built Technical Worksheet
F. SYSTEM COSTS AND INCENTIVE REQUEST
1. | Total Installed Storage System Cost ($): |  | $ | 0
Eligible installed system cost includes all key system components, installation, and applicable interconnection costs before New Jersey's Clean Energy Program incentive, less any other direct incentives. The actual costs must be documented by invoices from the vendor(s), as well as proof of customer purchase (copy of customer's check, credit card receipt or lease contract and documentation) submitted with the Final As-Built packet.
2. | Total Installed Storage System Cost (per kW): |  | $ | 0 | per kW
3. | Incentive per kW of total storage capacity: |  | $ | 0 | (Section F7 divided by Section C1.6 *1,000)
4. | Identification of other incentive(s) applied for or obtained that was subtracted from Total Installed System Cost on Line F1. Please identify the agency, program and dollar amount of each incentive:
|  | Agency |  | Program |  |  | Dollar Amount
[6 empty] | Total $ Amount: | 0
5. | Approved Incentive: |  | $ | 0
(Maximum incentive is $500,000 per project and $750,000 per entity)
6. | Maximum allowable incentive: |  | $ | 0 | (30% of Installed Cost from Section F1)
7. | Final incentive amount: |  | $ | 0 | (Equals the lesser of Section F5 or F6)
The incentive amount approved by the NJBPU for any project shall be the maximum incentive amount the project may receive. The approved incentive amount will be paid if the project is built to the capacity proposed, after satisfying all other program requirements. If, upon completion, a project is sized below the capacity for which it was approved, the incentive shall be reduced by a dollar amount equal to the capacity reduction multiplied by the project’s approved per-Watt incentive.
G. CERTIFICATION (SIGNATURES REQUIRED)
The undersigned by signing below attest to the accuracy and completeness of the above and any information provided with this submittal. If the NJCEP determines through an evaluation process of either on-site inspection or audit that the system has been misrepresented or that the paper work submittal is found to have violated program procedures then the contractor may be subject to corrective action as described in the Contractor Remediation Procedures specified in the Board Order dated October 15, 2010, Docket No. EO07030203. The signature for the installer shall be an Officer, Principle or Executive of the company that has signing authority for the company.
| System Owner: |  |  | Site Host (If different from System Owner):
| Signature: |  |  | Signature:
| Print Name: |  |  | Print Name:
| Date: |  |  | Date:
Installer/Developer:
Signature:
Print Name:
Date:

## System Photos Pg 1
FY2015 Renewable Energy Incentive Program (REIP)
Renewable Electric Storage - Final As-Built Technical Worksheet
PHOTOS - Page 1
SITE HOST NAME: |  |  | 0 | REIP Number #: | 0
H. SYSTEM PHOTOS (must be true representation of the system installed per the application):
DIRECTIONS TO INSERT: 5" x 7" 300 DPI PHOTO (PHOTO AUTOMATICALLY SIZES ONCE UPLOADED)
|  | STEP 1: | RIGHT CLICK ON MOUSE
|  | STEP 2: | SELECT "CHANGE PICTURE"
|  | STEP 3: | UPLOAD PHOTO OF CHOICE
ONCE A PHOTO HAS BEEN UPLOADED, DO NOT DELETE THE PHOTO. IF YOU NEED TO CHANGE THE PHOTO ONCE UPLOADED, FOLLOW THE DIRECTIONS LISTED ABOVE.
1. | ENERGY STORAGE SYSTEM
2. | STORAGE SYSTEM INVERTER(S)

## System Photos Pg 2
FY2015 Renewable Energy Incentive Program (REIP)
Renewable Electric Storage - Final As-Built Technical Worksheet
PHOTOS - Page 2
SITE HOST NAME: |  |  | 0 | REIP Number #: | 0
I. SYSTEM PHOTOS (must be true representation of the system installed per the application):
DIRECTIONS TO INSERT: 5" x 7" 300 DPI PHOTO (PHOTO AUTOMATICALLY SIZES ONCE UPLOADED)
|  | STEP 1: | RIGHT CLICK ON MOUSE
|  | STEP 2: | SELECT "CHANGE PICTURE"
|  | STEP 3: | UPLOAD PHOTO OF CHOICE
ONCE A PHOTO HAS BEEN UPLOADED, DO NOT DELETE THE PHOTO. IF YOU NEED TO CHANGE THE PHOTO ONCE UPLOADED, FOLLOW THE DIRECTIONS LISTED ABOVE.
3. | PRODUCTION METER
4. | ADDITIONAL PHOTOS