## SEA Modeling Inputs&Assumptions
| Attachment 1: Transition Incentive Addendum Detailed Inputs | Prepared by Cadmus and Sustainable Energy Advantage for the New Jersey Board of Public Utilities
Legacy SREC Assumptions/Inputs/Results
|  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Demand | Load (Low Case) | 74381197.8 | 73588200 | 72504516 | 71742385.68 | 70567874.1096 | 69725417.8863 | 69074105.3497 | 68160101.1357 | 67576417.0903 | 67309840.4067 | 66646148.3864 | 66306340.967 | 66306340.967 | 66306340.967 | 66306340.967
| Load (Base Case) | 74381197.8 | 73588200 | 72504516 | 71742385.68 | 71295377.9664 | 71157190.4071 | 70462924.6949 | 70217256.954 | 70275779.2454 | 70629365.868 | 71269164.892 | 72186589.9452 | 72186589.9452 | 72186589.9452 | 72186589.9452
| Load (High Case) | 74381197.8 | 73588200 | 72504516 | 71742385.68 | 71295377.9664 | 71157190.4071 | 71189346.5989 | 71653039.667 | 72407338.8736 | 73446432.0961 | 74764623.4542 | 76356330.9851 | 76356330.9851 | 76356330.9851 | 76356330.9851
| SREC Requirement | 4.3% | 4.9% | 5.1% | 5.1% | 5.1% | 4.9% | 4.8% | 4.5% | 4.35% | 3.74% | 3.07% | 2.21% | 1.58% | 1.4% | 1.1%
| Net Legacy SREC Req't | 3.774% | 4.651% | 5.352% | 5.508% | 5.244% | 4.9% | 4.8% | 4.5% | 4.35% | 3.74% | 3.07% | 2.21% | 1.58% | 1.4% | 1.1%
| Demand/Compliance Ob (SRECS) | 2807439.6215 | 3422329.8974 | 3880142.3248 | 3951652.3073 | 3738557.8766 | 3486702.3299 | 3382220.3854 | 3159776.5629 | 3056996.3972 | 2641538.2835 | 2187963.3622 | 1595323.6378 | 1140548.1211 | 1010612.2592 | 794052.4894
Supply | Low Supply | 2983915.0275 | 3331141.5697 | 3570676.7742 | 3557359.2515 | 3522123.8323 | 3495857.2465 | 3439550.6883 | 3359628.1658 | 3176949.0594 | 2666210.3401 | 2355762.3631 | 2041441.0268 | 1613176.0649 | 1313634.561 | 828294.9085
| Base Supply | 3108244.8203 | 3469939.1351 | 3719454.9731 | 3705582.5537 | 3668878.992 | 3641517.9651 | 3582865.3003 | 3499612.6727 | 3309321.9369 | 2777302.4376 | 2453919.1282 | 2126501.0696 | 1680391.7343 | 1368369.3344 | 862807.1964
| High Supply | 3232574.6131 | 3608736.7005 | 3868233.1721 | 3853805.8558 | 3815634.1517 | 3787178.6837 | 3726179.9123 | 3639597.1796 | 3441694.8143 | 2888394.5351 | 2552075.8933 | 2211561.1124 | 1747607.4037 | 1423104.1077 | 897319.4842
Pricing | Base Case | 225 | 169.958 | 165.8863 | 167.4131 | 170.7176 | 166.4703 | 152.6727 | 136.3764 | 114.7264 | 92.2319 | 70.8591 | 27.039 | 7 | 7 | 7
| Low Supply / High Demand | 230 | 197.0247 | 197.4344 | 203.829 | 198.5784 | 189.8688 | 181.1592 | 172.2195 | 158.4839 | 148.8007 | 144.1828 | 131.6297 | 91.0451 | 43.7179 | 7
| High Supply / Low Demand | 220 | 142.8913 | 134.3382 | 130.9972 | 128.1191 | 115.4036 | 93.243 | 66.5095 | 34.8451 | 7 | 7 | 7 | 7 | 7 | 7
| Class I prices assumed to be held at: | 2019: 7
Cost Cap Assumptions/Inputs/Results
| Deriving Adjusted Base Total Electricity Cost | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
| Total Electricity Cost (Unadjusted, Based on Rates) | 10845011537.3442 | 11574294902.0785 | 11890770594.9768 | 11912303724.3613 | 12243123551.0243 | 12594459487.5783 | 12960220067.5914 | 13075335591.6149 | 13185210639.4854 | 13290966066.5005 | 13590223064.6052 | 13891833221.985 | 14189433782.3037 | 14486925467.6021 | 14789776658.5234
| Total Electricity Cost (Adjusted to Include Net Supplementary BAU Spending) | 10979216460.866 | 11930843248.6601 | 12291227598.0536 | 12320410432.9274 | 12376511706.9558 | 12844722907.0848 | 13302067748.4352 | 13449573134.0554 | 13592035272.309 | 13704679312.762 | 14019320825.8268 | 14312667469.8282 | 14600054498.1098 | 14889594742.5915 | 15184380851.246
| Total Electricity Cost Scenarios ($) | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
| Base | 10979216460.866 | 11930843248.6601 | 12291227598.0536 | 12320410432.9274 | 12376511706.9558 | 12844722907.0848 | 13302067748.4352 | 13449573134.0554 | 13592035272.309 | 13704679312.762 | 14019320825.8268 | 14312667469.8282 | 14600054498.1098 | 14889594742.5915 | 15184380851.246
| Low | 10430255637.8227 | 11334301086.2271 | 11676666218.1509 | 11704389911.281 | 11757686121.608 | 12202486761.7306 | 12636964361.0134 | 12777094477.3527 | 12912433508.6936 | 13019445347.1239 | 13318354784.5355 | 13597034096.3368 | 13870051773.2043 | 14145115005.4619 | 14425161808.6837
| High | 11528177283.9093 | 12527385411.0931 | 12905788977.9563 | 12936430954.5738 | 12995337292.3036 | 13486959052.4391 | 13967171135.8569 | 14122051790.7582 | 14271637035.9245 | 14389913278.4001 | 14720286867.1181 | 15028300843.3196 | 15330057223.0153 | 15634074479.7211 | 15943599893.8083
Deriving Cost Cap and Remaining Solar Transition "Budget"
Cost Cap by EY (%) | bar: 2019 to 2033
| Total Cost Cap ($) | 988129481.4779 | 1073775892.3794 | 1106210483.8248 | 862428730.3049 | 866355819.4869 | 899130603.4959 | 931144742.3905 | 941470119.3839 | 951442469.0616 | 959327551.8933 | 981352457.8079 | 1001886722.888 | 1022003814.8677 | 1042271631.9814 | 1062906659.5872
| Total Legacy SREC Cost ($) (Base Case) | 679467455.9636 | 596609041.4063 | 629149875.5001 | 638049920.6757 | 629845847.7461 | 580432231.9141 | 516372834.1886 | 430918874.7023 | 350718051.4001 | 243634009.4792 | 155037124.9821 | 43136012.5222 | 8022520.3175 | 7143004.8759 | 5639554.1141
| Total Non-Solar/OSW Class I | 53279762.4811 | 68665211.1753 | 80033033.5767 | 78782693.8904 | 102268214.1854 | 101949881.3681 | 102865973.1249 | 105076417.8772 | 107219061.9741 | 112483829.2093 | 119105559.2794 | 127941149.6638 | 127813704.9189 | 129923312.1189 | 132662814.7078
| Total left for Solar Transition | 255382263.0332 | 408501639.7978 | 397027574.748 | 145596115.7388 | 134241757.5554 | 216748490.2137 | 311905935.0769 | 405474826.8045 | 493505355.6875 | 603209713.2049 | 707209773.5465 | 830809560.702 | 886167589.6313 | 905205314.9867 | 924604290.7654
Pipeline Supply Model Assumptions/Inputs/Results
| Size Bin | 2019: Average Monthly Install Rate (MW); 2020: Average Montly Application Rate (MW)
| a. <25 kW | 2019: 11.307; 2020: 7.1412; 2022: Scrub Rate; 2023: 30%
| b. 25 - 250 kW | 2019: 1.9684; 2020: 3.4089
| c. 250 - 500 kW | 2019: 2.0035; 2020: 2.3283
| d. 500 - 1000 kW | 2019: 2.1144; 2020: 3.3771
| e. 1000 - 2000 kW | 2019: 1.8499; 2020: 5.9628
| f. 2000 - 5000 kW | 2019: 1.7738; 2020: 3.3481
| g. 5000+ | 2019: 4.0683; 2020: 5.4711
| Month | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01
| Incremental Supply (MW) | 38.2121 | 27.7002 | 36.4665 | 25.9731 | 15.727 | 14.5825 | 25.0852 | 25.0852 | 27.5938 | 30.1023 | 30.1023 | 32.6108 | 30.1023 | 27.5938 | 27.5938 | 25.0852 | 25.0852 | 23.8893 | 21.0822 | 21.0822 | 21.0822 | 0 | 0 | 0
| Cumulative Supply (MW) | 2737.169 | 2764.8692 | 2801.3358 | 2827.3089 | 2843.0359 | 2857.6184 | 2882.7036 | 2907.7889 | 2935.3827 | 2965.485 | 2995.5873 | 3028.1981 | 3058.3004 | 3085.8941 | 3113.4879 | 3138.5732 | 3163.6584 | 3187.5477 | 3208.6299 | 3229.7121 | 3250.7943 | 3253.1214 | 3253.1214 | 3253.1214
| Build Rate Index | N/A | N/A | N/A | N/A | N/A | N/A | 120% | 130% | 120% | 110% | 110% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
| % of Installations with a 10 yr QL | N/A | N/A | N/A | N/A | N/A | N/A | 65% | 75% | 85% | 95% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
| Solar Sales, Trailing 12 months | 3056551.6446 | 3080129.4213 | 3108258.5099 | 3144601.1975 | 3185819.1716 | 3227795.499 | 3267243.5828 | 3306928.6882 | 3344269.3944 | 3377565.1844 | 3405310.1233 | 3427429.3923 | 3448451.3611 | 3471669.3103 | 3499099.6101 | 3532219.981 | 3568753.3455 | 3607890.3658 | 3648309.4116 | 3690800.886 | 3729447.6794 | 3763459.1533 | 3788036.5421 | 3805930.9356
| Solar Sales as a % of Retail Sales | 4.205% | 4.237% | 4.276% | 4.326% | 4.382% | 4.44% | 4.494% | 4.549% | 4.6% | 4.646% | 4.684% | 4.715% | 4.744% | 4.776% | 4.813% | 4.859% | 4.909% | 4.963% | 5.019% | 5.077% | 5.13% | 5.177% | 5.211% | 5.235%
| Most recent BPU Data From Ron Jackson (though May, 5% LL, MWh) | 2019-01-01: 72695335.7
Transition Incentive Build Rate
Estimated Pipeline Capacity at 5.1% attainment per size bin (MW)
| a. <25 kW | 2019-01-01: 8.3903
| b. 25 - 250 kW | 2019-01-01: 43.8355
| c. 250 - 500 kW | 2019-01-01: 43.9838
| d. 500 - 1000 kW | 2019-01-01: 81.6839
| e. 1000 - 2000 kW | 2019-01-01: 102.2863
| f. 2000 - 5000 kW | 2019-01-01: 84.5146
| g. 5000+ | 2019-01-01: 164.7585
| Project Type | Q1 EY 2020 | Q2 EY 2020 | Q3 EY 2020 | Q4 EY 2020 | Q1 EY 2021 | Q2 EY 2021 | Q3 EY 2021 | Q4 EY 2021 | Q1 EY 2022 | Q2 EY 2022 | Q3 EY 2022 | Q4 EY 2022 | Q1 EY 2023 | Q2 EY 2023 | Q3 EY 2023 | Q4 EY 2023 | Q1 EY 2024 | Q2 EY 2024 | Q3 EY 2024 | Q4 EY 2024 | Q1 EY 2025 | Q2 EY 2025 | Q3 EY 2025
| <=25 kW | 0 | 0 | 0 | 0 | 0 | 11.2261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Building Mounted | 0 | 0 | 0 | 0 | 0 | 12.8484 | 19.2725 | 19.2725 | 19.2725 | 19.2725 | 19.2725 | 19.2725 | 18.5294 | 8.4135 | 8.4135 | 8.4135 | 8.4135 | 8.4135 | 2.6833 | 0 | 0 | 0 | 0
| Ground Mounted | 0 | 0 | 0 | 0 | 0 | 1.8697 | 2.8046 | 2.8046 | 2.8046 | 2.8046 | 2.8046 | 2.8046 | 2.7473 | 2.2124 | 2.2124 | 2.2124 | 2.2124 | 2.2124 | 0.71947 | 0 | 0 | 0 | 0
| Community Solar | 0 | 0 | 0 | 0 | 0 | 2.5258 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 3.7887 | 1.2449 | 0 | 0 | 0 | 0
| Low/Moderate Income | 0 | 0 | 0 | 0 | 0 | 1.2513 | 1.877 | 1.877 | 1.877 | 1.877 | 1.877 | 1.877 | 1.8673 | 1.6417 | 1.6417 | 1.6417 | 1.6417 | 1.6417 | 0.52922 | 0 | 0 | 0 | 0
| Perferred Siting (Brownfield/Carport) | 0 | 0 | 0 | 0 | 0 | 0.84673 | 1.2701 | 1.2701 | 1.2701 | 1.2701 | 1.2701 | 1.2701 | 1.2653 | 1.1524 | 1.1524 | 1.1524 | 1.1524 | 1.1524 | 0.37177 | 0 | 0 | 0 | 0
| Grid Supply (>5 MW) | 0 | 0 | 0 | 0 | 0 | 8.1366 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 12.2049 | 4.0683 | 0 | 0 | 0 | 0
Assumed to follow the average build rate used in the pipeline supply model, subject to the pipline's constraints in terms of what is avaliable per size bin
Note on C16: Tobin Armstrong: For 2019 we're using these numbers which match actuals. Prices going forward are a product of our model.
Note on C17: Tobin Armstrong: For 2019 we're using these numbers which match actuals. Prices going forward are a product of our model.
Note on C18: Tobin Armstrong: For 2019 we're using these numbers which match actuals. Prices going forward are a product of our model.
Note on D43: Tobin Armstrong: this incluees a 30% scrub rate, meaning this represents the application of projects that will be built
Note on F44: Tobin Armstrong: this is applied to all projects in the pipeline that do not have a more specific de-rate applied. More specific de-rates are applied to projects that have taken an abnormal ammount of time to reach PTO. Details in are in our presentation from SWS1
Note on C53: Tobin Armstrong: Actuals per SRP report
Note on D53: Tobin Armstrong: Actuals per SRP report
Note on E53: Tobin Armstrong: Actuals per SRP report
Note on F53: Tobin Armstrong: Actuals per SRP report
Note on G53: Tobin Armstrong: Actuals per SRP report
Note on H53: Tobin Armstrong: Actuals per SRP report
Note on C54: Tobin Armstrong: Actuals per SRP report
Note on D54: Tobin Armstrong: Actuals per SRP report
Note on E54: Tobin Armstrong: Actuals per SRP report
Note on F54: Tobin Armstrong: Actuals per SRP report
Note on G54: Tobin Armstrong: Actuals per SRP report
Note on H54: Tobin Armstrong: Actuals per SRP report
Note on B65: Tobin Armstrong: this is a function of the assumed build rate and application rate, provided above. This capacity represents "effective" capacity in that it already includes de-rates for scrub rate. The difference between this capacity (529 MW) and the assumed capacity built under the TI (483 MW) is driven by our assumption that installations under the TI will not progress into CY 2024 (given that ITC safe harbor period ends by January 1, 2024)