## Annual Capacity
New Jersey Solar Installations as of 06/30/19 | [10 empty] | (Annual Capacity)
[16 empty] | Previously Reported through 05/31/19 |  | Difference between 05/31/19 and 06/30/19
|  | Residential (kW) |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  | Total of All Projects as of 06/30/19 (kW)
|  |  |  | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | Total (kW) | [5 empty] | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
2012-01-01 | Year | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity
| 2000 | 4 | 11.85 | 2 | 11.04 | 0 | 0 | 0 | 0 | 2 | 11.04 | 0 | 0 | 6 | 22.89 | 6 | 22.89 | 0 | 0
| 2001 | 2 | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5.25 | 2 | 5.25 | 0 | 0
| 2002 | 25 | 72.82 | 9 | 324 | 1 | 262.14 | 0 | 0 | 10 | 586.14 | 0 | 0 | 35 | 658.96 | 35 | 658.96 | 0 | 0
| 2003 | 65 | 364.932 | 17 | 281.9 | 1 | 479.8 | 0 | 0 | 18 | 761.7 | 0 | 0 | 83 | 1126.632 | 83 | 1126.632 | 0 | 0
| 2004 | 252 | 1521.498 | 42 | 382.006 | 2 | 623.385 | 0 | 0 | 44 | 1005.391 | 0 | 0 | 296 | 2526.889 | 296 | 2526.889 | 0 | 0
| 2005 | 626 | 4619.866 | 78 | 1029.883 | 16 | 3923.08 | 0 | 0 | 94 | 4952.963 | 0 | 0 | 720 | 9572.829 | 721 | 9582.709 | -1 | -9.88
| 2006 | 743 | 5308.133 | 105 | 1881.529 | 36 | 11097.32 | 0 | 0 | 141 | 12978.849 | 0 | 0 | 884 | 18286.982 | 884 | 18286.982 | 0 | 0
| 2007 | 524 | 3803.471 | 95 | 2123.445 | 26 | 8352.908 | 0 | 0 | 121 | 10476.353 | 0 | 0 | 645 | 14279.824 | 645 | 14279.824 | 0 | 0
| 2008 | 654 | 4949.765 | 170 | 3874.197 | 44 | 13247.054 | 4 | 6134.26 | 218 | 23255.511 | 0 | 0 | 872 | 28205.276 | 873 | 28213.276 | -1 | -8
| 2009 | 1057 | 8012.038 | 242 | 6797.993 | 88 | 24235.758 | 8 | 14085.91 | 338 | 45119.661 | 5 | 3370.56 | 1400 | 56502.259 | 1400 | 56502.259 | 0 | 0
| 2010 | 2135 | 16490.743 | 378 | 12695.216 | 154 | 45624.902 | 12 | 20986.6 | 544 | 79306.718 | 19 | 25187.34 | 2698 | 120984.801 | 2698 | 120984.801 | 0 | 0
| 2011 | 5115 | 42951.545 | 820 | 26276.141 | 435 | 134006.34 | 50 | 106495.593 | 1305 | 266778.074 | 51 | 137618.951 | 6471 | 447348.57 | 6471 | 447348.57 | 0 | 0
2014-01-01 | 2012 | 5311 | 45858.094 | 627 | 22302.357 | 413 | 120416.802 | 47 | 87882.441 | 1087 | 230601.6 | 23 | 56793.804 | 6421 | 333253.498 | 6421 | 333253.498 | 0 | 0
| 2013 | 5964 | 47990.806 | 268 | 10770.164 | 229 | 74125.371 | 26 | 64412.16 | 523 | 149307.695 | 18 | 23162.1 | 6505 | 220460.601 | 6505 | 220460.601 | 0 | 0
| 2014 | 6827 | 55344.674 | 115 | 4269.014 | 102 | 35309.278 | 10 | 45163.02 | 227 | 84741.312 | 8 | 63370.64 | 7062 | 203456.626 | 7062 | 203456.626 | 0 | 0
2015-01-01 | 2015 | 12879 | 101887.45 | 109 | 3651.21 | 86 | 27254.1 | 7 | 21629.63 | 202 | 52534.94 | 8 | 41683.64 | 13089 | 196106.03 | 13089 | 196106.03 | 0 | 0
2016-01-01 | 2016 | 21910 | 180651.62 | 204 | 6236.37 | 122 | 42645.64 | 18 | 42479.69 | 344 | 91361.7 | 22 | 136222.11 | 22276 | 408235.43 | 22275 | 408227.01 | 1 | 8.42
2017-01-01 | 2017 | 18595 | 159626.385 | 272 | 9298.87 | 171 | 63568.39 | 22 | 57718.49 | 465 | 130585.75 | 8 | 60129.63 | 19068 | 350341.765 | 19065 | 350017.985 | 3 | 323.78
2017-01-01 | 2018 | 17028 | 148501.09 | 318 | 10483 | 198 | 67870.8 | 26 | 56308.67 | 542 | 134662.47 | 4 | 43687.12 | 17574 | 326850.68 | 17516 | 326108.21 | 58 | 742.47
2017-01-01 | 2019 | 6299 | 56172.45 | 106 | 3606.56 | 84 | 27525.76 | 12 | 59630.05 | 202 | 90762.37 | 2 | 22995.42 | 6503 | 169930.24 | 5573 | 120449.4 | 930 | 49480.84
| Total | 106015 | 884144.48 | 3977 | 126294.895 | 2208 | 700568.828 | 242 | 582926.514 | 6427 | 1409790.237 | 168 | 614221.315 | 112610 | 2908156.032 | 111620 | 2857618.402 | 990 | 50537.63

## Class I REC Generators
Class I REC Generators that were issued PTO's between 1/1/2000 - 5/31/2003
The Solar Installation Report includes 61 projects totaling 1,260.67 kW that have been classified as Class I REC Generators
Note 1: PJM-GATs system is showing a total of 28 projects totaling 787.96 kW.
Note 2: The difference between the 61 projects in the solar installation report and the 28 projects in the GATs system is 33 projects. PJM-GATs does not have a record of these 33 generators registered in their system.
Registration Number | SRP Project Number | Program | Premise Last Name | Premise Company | Premise Installation Address (Commercial Only) | Premise City | Premise Zip | County Code | PTO Date (Interconnection Date) | Calculated Total System Size | Customer Type | Third Party Ownership | Grid / BTM | Subsection | Energy Year | EDC Program | Contractor Company | Electric Utility Name | Status | Acceptance Date | Completion Date
| UTIL-16 | CORE Solar | BROOKE |  |  | LAMBERTVILLE | 8530 | 4 | 2001-12-17 | 1.49 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-07-05 | 2001-12-17
| UTIL-17 | CORE Solar | KNOWLTON |  |  | FAIR HAVEN | 7704 | 17 | 2002-01-01 | 2.26 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-07-09 | 2001-12-17
| UTIL-15 | CORE Solar | BURNS |  |  | GREAT MEADOWS | 7838 | 2 | 2001-12-17 | 3.76 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-06-25 | 2001-12-17
| UTIL-18 | CORE Solar | GUINDON |  |  | OCEAN VIEW | 8230 | 21 | 2002-01-11 | 0.26 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2001-11-21 | 2002-01-11
| UTIL-20 | CORE Solar | SUKOVICH |  |  | RINGOES | 8551 | 4 | 2002-02-01 | 3.72 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-07-11 | 2002-03-05
| UTIL-21 | CORE Solar | STOCKS |  |  | LIVINGSTON | 7039 | 9 | 2002-02-27 | 2.26 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2001-07-13 | 2002-03-14
| UTIL-22 | CORE Solar | DERBY |  |  | MOUNT HOLLY | 8060 | 13 | 2002-03-21 | 1.9 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2001-08-06 | 2002-03-21
| UTIL-24 | CORE Solar | PLEVA |  |  | ALLENTOWN | 8501 | 17 | 2002-01-24 | 2.69 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2001-09-28 | 2002-04-11
| UTIL-71 | CORE Solar |  | RAMAPO COLLEGE |  | MAHWAH | 7430 | 7 | 2002-04-15 | 2 | University Public |  | Behind the Meter |  |  |  |  | Orange & Rockland Elec | Registration Complete | 2002-01-24 | 2002-04-15
| UTIL-25 | CORE Solar | MCFADDEN |  |  | DEMAREST | 7627 | 7 | 2002-04-15 | 2.26 | Residential |  | Behind the Meter |  |  |  |  | Orange & Rockland Elec | Registration Complete | 2001-09-18 | 2002-04-15
| UTIL-72 | CORE Solar |  | MONTCLAIR UNIVERSITY |  | MONTCLAIR | 7043 | 9 | 2002-05-06 | 2 | University Public |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-05-03 | 2002-05-06
| UTIL-27 | CORE Solar | CAFIERO |  |  | SHIP BOTTOM | 8008 | 18 | 2002-05-01 | 2.71 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-02-11 | 2002-06-13
| UTIL-28 | CORE Solar | GOLDEN |  |  | VILLAS | 8251 | 21 | 2002-06-17 | 0.89 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2001-07-18 | 2002-06-17
| UTIL-06 | CORE Solar |  | BJ'S WHOLESALE CLUB | 1910 DEPTFORD CENTER RD | DEPTFORD | 8096 | 15 | 2002-06-27 | 62.23 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2001-06-18 | 2002-06-27
| UTIL-30 | CORE Solar | JONES |  |  | HIGHLANDS | 7732 | 17 | 2002-05-01 | 2.69 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-03-15 | 2002-07-02
| UTIL-29 | CORE Solar | LOUGHLIN |  |  | FLEMINGTON | 8822 | 4 | 2002-06-01 | 3.46 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-09-12 | 2002-07-02
| UTIL-07 | CORE Solar |  | CORDIS | 33 TECHNOLOGY DR | WARREN | 7059 | 5 | 2002-07-03 | 68.4 | Commercial |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-06-21 | 2002-07-03
| UTIL-31 | CORE Solar | ONE |  |  | COLTS NECK | 7722 | 17 | 2002-07-23 | 8.37 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-09-05 | 2002-07-23
| UTIL-33 | CORE Solar | KLEIN |  |  | JACKSON | 8527 | 18 | 2002-08-01 | 1.5 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-11-08 | 2002-08-01
| UTIL-34 | CORE Solar | CELEBRE |  |  | RINGOES | 8551 | 4 | 2002-08-02 | 2.71 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-03-15 | 2002-08-21
| UTIL-36 | CORE Solar | BARBLOCK |  |  | WAYNE | 7470 | 6 | 2000-08-01 | 2.5 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-05-03 | 2002-09-23
| UTIL-37 | CORE Solar | MULVANEY |  |  | FLEMINGTON | 8822 | 4 | 2002-09-24 | 3.01 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-02-22 | 2002-09-24
| UTIL-38 | CORE Solar | MIDKIFF |  |  | BLAIRSTOWN | 7825 | 2 | 2002-08-01 | 1.84 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-05-15 | 2002-10-16
| UTIL-40 | CORE Solar | KINNEY |  |  | MEDFORD | 8055 | 13 | 2002-10-01 | 7.5 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-01-18 | 2002-11-22
| UTIL-08 | CORE Solar |  | IBEW LOCAL #269 BLDG 1 | 670 WHITEHEAD RD | LAWRENCE TOWNSHIP | 8648 | 12 | 2002-12-10 | 25.54 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-05-13 | 2002-12-10
| UTIL-09 | CORE Solar |  | IBEW LOCAL #269 BLDG 3 | 670 WHITEHEAD RD | LAWRENCE TOWNSHIP | 8648 | 12 | 2002-12-10 | 31.58 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-04-25 | 2002-12-10
| UTIL-10 | CORE Solar |  | WYETH (AMERICAN HOME PRODUCTS) | 5 GIRALDA FARMS | MADISON | 7940 | 3 | 2002-12-10 | 60.67 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-02-14 | 2002-12-10
| UTIL-41 | CORE Solar | JOHNSON |  |  | SHIP BOTTOM | 8008 | 18 | 2002-12-11 | 2.8 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-08-28 | 2002-12-11
| UTIL-42 | CORE Solar | KLINE |  |  | BARNEGAT LIGHT | 8006 | 18 | 2002-11-12 | 2.8 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-10-10 | 2002-12-11
| UTIL-43 | CORE Solar | BROOKE |  |  | LAMBERTVILLE | 8530 | 4 | 2002-12-16 | 2.92 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-02-05 | 2002-12-16
| UTIL-44 | CORE Solar | PHIFER |  |  | THOROFARE | 8086 | 15 | 2002-12-12 | 3.7 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-10-22 | 2002-12-24
| UTIL-11 | CORE Solar |  | BP (PAULSBORO TERMINAL) | 303 MANTUA AVE | PAULSBORO | 8066 | 15 | 2002-12-31 | 262.14 | Commercial |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-01-11 | 2002-12-31
| UTIL-46 | CORE Solar | RAFTER |  |  | WILLIAMSTOWN | 8094 | 15 | 2002-12-01 | 3.74 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-07-17 | 2003-01-06
| UTIL-47 | CORE Solar | LISTHAUS |  |  | LIVINGSTON | 7039 | 9 | 2003-01-01 | 10.26 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-05-14 | 2003-01-15
| UTIL-48 | CORE Solar | ROBBINS |  |  | MOUNT HOLLY | 8060 | 13 | 2002-12-11 | 2.27 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-10-11 | 2003-01-23
| UTIL-49 | CORE Solar | KLIMES |  |  | SOMERSET | 8873 | 5 | 2003-01-23 | 4.53 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-10-17 | 2003-01-23
| UTIL-50 | CORE Solar | WOOD |  |  | CAMDEN | 8110 | 14 | 2003-02-06 | 4.96 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-09-16 | 2003-02-06
| UTIL-51 | CORE Solar | WILLIAMS |  |  | SHIP BOTTOM | 8008 | 18 | 2003-02-11 | 2.48 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-11-07 | 2003-02-11
| UTIL-52 | CORE Solar | MEZIK |  |  | BRIDGETON | 8302 | 20 | 2003-02-25 | 9.94 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-09-30 | 2003-03-14
| UTIL-53 | CORE Solar | SAWHNEY |  |  | WEST ORANGE | 7052 | 9 | 2003-03-25 | 4.61 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-12-06 | 2003-03-25
| UTIL-54 | CORE Solar | EFFRON |  |  | BARNEGAT | 8005 | 18 | 2003-04-01 | 2.82 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2003-01-24 | 2003-04-16
| UTIL-55 | CORE Solar | ZEBROWSKI |  |  | BERLIN | 8009 | 14 | 2003-04-28 | 4.52 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-11-14 | 2003-04-28
| UTIL-56 | CORE Solar | MCCOY |  |  | MAPLEWOOD | 7040 | 9 | 2003-04-01 | 2.78 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-11-13 | 2003-05-08
| UTIL-57 | CORE Solar | MCCOLLOUGH |  |  | HOPEWELL | 8525 | 12 | 2003-03-26 | 4.79 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-11-23 | 2003-05-08
| UTIL-12 | CORE Solar |  | MARVIN NAFTAL | 2 DEGROAT RD | SANDYSTON | 7827 | 1 | 2003-05-11 | 4.19 | Commercial |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-07-25 | 2003-05-11
| UTIL-59 | CORE Solar | NAFTAL |  |  | SANDYSTON | 7827 | 1 | 2003-05-09 | 8.38 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-11-22 | 2003-05-11
| UTIL-13 | CORE Solar |  | MARVIN NAFTAL | 2 DEGROAT RD | SANDYSTON | 7827 | 1 | 2003-05-11 | 9.77 | Commercial |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-07-25 | 2003-05-11
| UTIL-14 | CORE Solar |  | JANSSEN PHARMACEUTICA | 1125 TRENTON HARBOURTON RD | TITUSVILLE | 8560 | 12 | 2003-05-23 | 479.8 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-08-09 | 2003-05-23
| UTIL-62 | CORE Solar | BURGHARDT |  |  | HOPEWELL | 8525 | 12 | 2003-05-09 | 2.8 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2003-03-28 | 2003-06-12
| UTIL-61 | CORE Solar | KRAMER |  |  | MONTCLAIR | 7042 | 9 | 2003-05-01 | 4.61 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2003-03-03 | 2003-06-12
| UTIL-66 | CORE Solar | CINCOTTA |  |  | OAK RIDGE | 7438 | 6 | 2003-05-29 | 2.88 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2003-03-03 | 2003-07-11
| BPU-0049 | CORE Solar | O'KANE |  |  | PORT MURRAY | 7865 | 2 | 2000-08-01 | 4.4 | Residential |  | Behind the Meter |  |  |  | SUN FARM NETWORK | JCP&L | Registration Complete | 2003-06-11 | 2003-10-29
| BPU-0105 | CORE Solar | SCRANTON |  |  | HEWITT | 7421 | 6 | 2000-08-01 | 2.64 | Residential |  | Behind the Meter |  |  |  | SUN FARM NETWORK | Orange & Rockland Elec | Registration Complete | 2003-08-19 | 2003-11-10
| BPU-0120 | CORE Solar | MURRAY |  |  | BLAIRSTOWN | 7825 | 2 | 2000-10-01 | 2.31 | Residential |  | Behind the Meter |  |  |  | SUN FARM NETWORK | JCP&L | Registration Complete | 2003-09-05 | 2003-12-03
| BPU-0073 | CORE Solar | MACGILLIS | GENESIS FARMS INC |  | BLAIRSTOWN | 7825 | 2 | 2000-11-01 | 9.2 | Farm |  | Behind the Meter |  |  |  | SUN FARM NETWORK | JCP&L | Registration Complete | 2003-07-13 | 2003-12-29
| BPU-0385 | CORE Solar | MEZIK |  |  | BRIDGETON | 8302 | 20 | 2003-02-25 | 9.45 | Residential |  | Behind the Meter |  |  |  | SELF INSTALL | Conectiv | Registration Complete | 2004-05-27 | 2004-12-07
| BPU-0558 | CORE Solar | CAFIERO |  |  | HIGH BAR HARBOR | 8008 | 18 | 2002-05-01 | 2.64 | Residential |  | Behind the Meter |  |  |  | SELF INSTALL | Conectiv | Registration Complete | 2004-08-10 | 2004-12-14
| BPU-0796 | CORE Solar | MAC GILLIS | GENESIS FARMS-OFFICE COMPLEX |  | BLAIRSTOWN | 7825 | 2 | 2000-11-01 | 1.84 | Farm |  | Behind the Meter |  |  |  | SUN FARM NETWORK | JCP&L | Registration Complete | 2004-12-09 | 2005-02-02
| BPU-0181 | CORE Solar | MARCIANTE | IBEW | 658 WHITE HEAD ROAD | TRENTON | 8648 | 12 | 2002-10-30 | 8.88 | Commercial |  | Behind the Meter |  |  |  | ADVANCED SOLAR PRODUCTS, INC. | PSE&G | Registration Complete | 2003-11-14 | 2005-04-18
| BPU-1755 | CORE Solar | STANSLEY |  |  | HOPEWELL | 8525 | 12 | 2002-01-01 | 1.92 | Residential |  | Behind the Meter |  |  |  | NJ SOLAR SOLUTIONS | JCP&L | Registration Complete | 2005-10-18 | 2006-10-06
| SPP323 | SREC Solar | LAVIN | NEWPORT OFFCE CENTER III CO, LLC | 1384 POMPTON AVENUE | JERSEY CITY | 7310 | 8 | 2002-05-01 | 62.7 | Commercial |  | Behind the Meter |  |  |  | RESOURCE ENERGY SYSTEMS, INC | PSE&G | Registration Complete | 2008-10-01 | 2009-02-28

## Monthly Capacity
New Jersey Solar Installations as of 06/30/19 | [10 empty] | (Monthly Capacity)
| Residential (kW) |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  | Total of All Projects as of 06/30/19 (kW) |  | Previously Reported through 05/31/19 |  | Difference between 05/31/19 and 06/30/19
|  |  | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | Total (kW)
Annual Totals in Aggregate | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
2000-2011 | 11202 | 88111.911 | 1958 | 55677.35 | 803 | 241852.687 | 74 | 147702.363 | 2835 | 445232.4 | 75 | 166176.851 | 14112 | 699521.162 | 14114 | 699539.042 | -2 | -17.88
2012 | 5311 | 45858.094 | 627 | 22302.357 | 413 | 120416.802 | 47 | 87882.441 | 1087 | 230601.6 | 23 | 56793.804 | 6421 | 333253.498 | 6421 | 333253.498 | 0 | 0
2013 | 5964 | 47990.806 | 268 | 10770.164 | 229 | 74125.371 | 26 | 64412.16 | 523 | 149307.695 | 18 | 23162.1 | 6505 | 220460.601 | 6505 | 220460.601 | 0 | 0
2014 | 6827 | 55344.674 | 115 | 4269.014 | 102 | 35309.278 | 10 | 45163.02 | 227 | 84741.312 | 8 | 63370.64 | 7062 | 203456.626 | 7062 | 203456.626 | 0 | 0
2015 | 12879 | 101887.45 | 109 | 3651.21 | 86 | 27254.1 | 7 | 21629.63 | 202 | 52534.94 | 8 | 41683.64 | 13089 | 196106.03 | 13089 | 196106.03 | 0 | 0
2016 | 21910 | 180651.62 | 204 | 6236.37 | 122 | 42645.64 | 18 | 42479.69 | 344 | 91361.7 | 22 | 136222.11 | 22276 | 408235.43 | 22275 | 408227.01 | 1 | 8.42
2001-2016 Total | 64093 | 519844.555 | 3281 | 102906.465 | 1755 | 541603.878 | 182 | 409269.304 | 5218 | 1053779.647 | 154 | 487409.145 | 69465 | 2061033.347 | 69466 | 2061042.807 | -1 | -9.46
2017-01-01 | 2037 | 16884.08 | 50 | 1731.05 | 16 | 7457.86 | 0 | 0 | 66 | 9188.91 | 1 | 7746.05 | 2104 | 33819.04 | 2104 | 33819.04 | 0 | 0
2017-02-01 | 1993 | 17003.67 | 14 | 462.83 | 16 | 5532.4 | 0 | 0 | 30 | 5995.23 | 0 | 0 | 2023 | 22998.9 | 2023 | 22998.9 | 0 | 0
2017-03-01 | 1655 | 14499.85 | 27 | 699.19 | 15 | 4826.17 | 2 | 5702.92 | 44 | 11228.28 | 1 | 9997.99 | 1700 | 35726.12 | 1700 | 35726.12 | 0 | 0
2017-04-01 | 1195 | 10139.78 | 9 | 403.17 | 15 | 5884.98 | 0 | 0 | 24 | 6288.15 | 0 | 0 | 1219 | 16427.93 | 1219 | 16427.93 | 0 | 0
2017-05-01 | 1485 | 12898.315 | 24 | 902.96 | 7 | 1781.04 | 1 | 1450 | 32 | 4134 | 1 | 2496 | 1518 | 19528.315 | 1518 | 19528.315 | 0 | 0
2017-06-01 | 1588 | 13330 | 9 | 405.67 | 12 | 4309.47 | 1 | 1035.45 | 22 | 5750.59 | 3 | 36512.93 | 1613 | 55593.52 | 1613 | 55593.52 | 0 | 0
2017-07-17 | 1378 | 11793.75 | 15 | 464.07 | 4 | 950.86 | 0 | 0 | 19 | 1414.93 | 0 | 0 | 1397 | 13208.68 | 1397 | 13208.68 | 0 | 0
2017-08-01 | 1459 | 12351.96 | 29 | 962.74 | 18 | 7358.6 | 1 | 7509.24 | 48 | 15830.58 | 0 | 0 | 1507 | 28182.54 | 1507 | 28182.54 | 0 | 0
2017-09-01 | 1567 | 13416.66 | 21 | 1011.42 | 10 | 3297.47 | 5 | 8217.88 | 36 | 12526.77 | 0 | 0 | 1603 | 25943.43 | 1602 | 25932.25 | 1 | 11.18
2017-10-01 | 1463 | 12507.61 | 19 | 532.17 | 17 | 5924.12 | 2 | 10819.84 | 38 | 17276.13 | 0 | 0 | 1501 | 29783.74 | 1500 | 29487.34 | 1 | 296.4
2017-11-01 | 1424 | 12741.52 | 19 | 634.09 | 12 | 3494.65 | 4 | 10600.68 | 35 | 14729.42 | 1 | 403.92 | 1460 | 27874.86 | 1459 | 27858.66 | 1 | 16.2
2017-12-01 | 1351 | 12059.19 | 36 | 1089.51 | 29 | 12750.77 | 6 | 12382.48 | 71 | 26222.76 | 1 | 2972.74 | 1423 | 41254.69 | 1423 | 41254.69 | 0 | 0
2017 Total | 18595 | 159626.385 | 272 | 9298.87 | 171 | 63568.39 | 22 | 57718.49 | 465 | 130585.75 | 8 | 60129.63 | 19068 | 350341.765 | 19065 | 350017.985 | 3 | 323.78
2018-01-01 | 1377 | 12064.51 | 36 | 1068.6 | 25 | 8452.56 | 2 | 3019.68 | 63 | 12540.84 | 0 | 0 | 1440 | 24605.35 | 1440 | 24605.35 | 0 | 0
2018-02-01 | 1364 | 11575.46 | 30 | 1033.77 | 26 | 10538.59 | 0 | 0 | 56 | 11572.36 | 0 | 0 | 1420 | 23147.82 | 1420 | 23147.82 | 0 | 0
2018-03-01 | 1177 | 10099.95 | 17 | 624.28 | 8 | 2548.07 | 1 | 4039.2 | 26 | 7211.55 | 0 | 0 | 1203 | 17311.5 | 1204 | 17317.8 | -1 | -6.3
2018-04-01 | 1529 | 12958.28 | 22 | 926.38 | 20 | 7907.69 | 1 | 1228.8 | 43 | 10062.87 | 0 | 0 | 1572 | 23021.15 | 1572 | 23021.15 | 0 | 0
2018-05-01 | 1330 | 11679.12 | 28 | 1006.92 | 15 | 5387.83 | 4 | 7229.43 | 47 | 13624.18 | 1 | 9997.65 | 1378 | 35300.95 | 1377 | 35294.65 | 1 | 6.3
2018-06-01 | 1736 | 14912.5 | 21 | 630.23 | 15 | 5449.69 | 4 | 7999.48 | 40 | 14079.4 | 1 | 12998.7 | 1777 | 41990.6 | 1777 | 41990.6 | 0 | 0
2018-07-01 | 1342 | 12167.87 | 21 | 577.69 | 10 | 1955.64 | 2 | 3531.33 | 33 | 6064.66 | 0 | 0 | 1375 | 18232.53 | 1374 | 18218.04 | 1 | 14.49
2018-08-01 | 1417 | 12550.01 | 31 | 1035.78 | 8 | 2113.21 | 1 | 3373.65 | 40 | 6522.64 | 1 | 10693.44 | 1458 | 29766.09 | 1449 | 29673.69 | 9 | 92.4
2018-09-01 | 1541 | 13445.8 | 27 | 874.17 | 10 | 2264.24 | 0 | 0 | 37 | 3138.41 | 0 | 0 | 1578 | 16584.21 | 1563 | 16447.82 | 15 | 136.39
2018-10-01 | 1507 | 13188.46 | 30 | 731.46 | 6 | 1796.59 | 2 | 10832.95 | 38 | 13361 | 1 | 9997.33 | 1546 | 36546.79 | 1539 | 36471.42 | 7 | 75.37
2018-11-01 | 1195 | 10768.24 | 25 | 857.77 | 15 | 4133.63 | 4 | 6262.38 | 44 | 11253.78 | 0 | 0 | 1239 | 22022.02 | 1226 | 21707.82 | 13 | 314.2
2018-12-01 | 1513 | 13090.89 | 30 | 1115.95 | 40 | 15323.06 | 5 | 8791.77 | 75 | 25230.78 | 0 | 0 | 1588 | 38321.67 | 1575 | 38212.05 | 13 | 109.62
2018 Total | 17028 | 148501.09 | 318 | 10483 | 198 | 67870.8 | 26 | 56308.67 | 542 | 134662.47 | 4 | 43687.12 | 17574 | 326850.68 | 17516 | 326108.21 | 58 | 742.47
2019-01-01 | 1555 | 13920.51 | 29 | 1038.45 | 27 | 8936.71 | 2 | 3871.88 | 58 | 13847.04 | 0 | 0 | 1613 | 27767.55 | 1606 | 27700.21 | 7 | 67.34
2019-02-01 | 1200 | 10622.75 | 21 | 700.92 | 20 | 5215.29 | 4 | 20070.78 | 45 | 25986.99 | 0 | 0 | 1245 | 36609.74 | 1231 | 36466.54 | 14 | 143.2
2019-03-01 | 1146 | 10305.09 | 15 | 414.85 | 13 | 2541.3 | 0 | 0 | 28 | 2956.15 | 1 | 12996 | 1175 | 26257.24 | 1147 | 25973.15 | 28 | 284.09
2019-04-01 | 1062 | 9601.79 | 22 | 744.89 | 15 | 5318.22 | 2 | 3973.43 | 39 | 10036.54 | 0 | 0 | 1101 | 19638.33 | 1008 | 15727 | 93 | 3911.33
2019-05-01 | 849 | 7496.38 | 16 | 552.2 | 8 | 4647 | 3 | 8267.04 | 27 | 13466.24 | 0 | 0 | 876 | 20962.62 | 581 | 14582.5 | 295 | 6380.12
2019-06-01 | 487 | 4225.93 | 3 | 155.25 | 1 | 867.24 | 1 | 23446.92 | 5 | 24469.41 | 1 | 9999.42 | 493 | 38694.76 | 0 | 0 | 493 | 38694.76
2019 Total | 6299 | 56172.45 | 106 | 3606.56 | 84 | 27525.76 | 12 | 59630.05 | 202 | 90762.37 | 2 | 22995.42 | 6503 | 169930.24 | 5573 | 120449.4 | 930 | 49480.84
Total | 106015 | 884144.48 | 3977 | 126294.895 | 2208 | 700568.828 | 242 | 582926.514 | 6427 | 1409790.237 | 168 | 614221.315 | 112610 | 2908156.032 | 111620 | 2857618.402 | 990 | 50537.63
.
Note: The “final total” amount installed in any month will not be known until all projects installed in that month submit a PTO date. Therefore, for example, the amount shown for any given month should not be interpreted as the final total amount installed in that month “but simply the quantity that have submitted PTOs.” Based on the above data, we are seeing an overall lag time of 1-2 months between when a project obtains a PTO and when it submits the PTO to the SRP team. The monthly installation number will be updated as additional PTO dates are reported.

## Interconnection & Customer Type
New Jersey Solar Installations as of 06/30/19
by Inerconnection Type
Interconnection Type | # Projects | Installed Capacity (kW) | % of Installed Capacity
Behind the meter | 112442 | 2293934.717 | 78.88%
Grid Supply | 168 | 614221.315 | 21.12%
Total | 112610 | 2908156.032 | 100%
BEHIND THE METER Project Installations
by Customer Type
Customer Type | # Projects | Installed Capacity (kW) | % of Installed Capacity
Commercial | 4486 | 1057844.248 | 46.11%
Farm | 148 | 5273.011 | 0.2299%
Government | 98 | 28917.077 | 1.261%
Municipality | 252 | 49761.703 | 2.169%
Non Profit | 611 | 43842.289 | 1.911%
Private University | 12 | 1223.917 | 0.05335%
Public University | 47 | 23291.573 | 1.015%
Residential | 106015 | 884144.48 | 38.54%
School Charter | 1 | 209.3 | 0.009124%
School Other | 109 | 35147.617 | 1.532%
School Public K-12 | 604 | 162756.141 | 7.095%
Sunlit | 59 | 1523.361 | 0.06641%
Total | 112442 | 2293934.717 | 100%
GRID SUPPLY Project Installations |  |  |  | Previously Reported through 05/31/19 |  | Difference between 05/31/19 and 06/30/19
by Subsection
Description | Project Qty | Installed Capacity (kW) | % of Installed Capacity | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
EDC | 80 | 80859.649 | 13.16% | 80 | 80859.649 | 0 | 0
Subsection q | 31 | 194412.08 | 31.65% | 31 | 194412.08 | 0 | 0
Subsection s | 10 | 74495.35 | 12.13% | 9 | 64495.93 | 1 | 9999.42
Subsection t | 14 | 141928.52 | 23.11% | 14 | 141928.52 | 0 | 0
Pre Solar Act | 33 | 122525.716 | 19.95% | 33 | 122525.716 | 0 | 0
Totals | 168 | 614221.315 | 100% | 167 | 604221.895 | 1 | 9999.42
Note: The following new Grid project was added to the June 2019 Installation report:
Registration Number | Subsection | Date PTO was Issued | Initial Registration Capacity (kW)
NJSRRE1536201655 | s | 2019-06-28 | 9999.42

## TPO Summary
New Jersey Solar Installations as of 06/30/19
BEHIND THE METER Project Installations
Summary of Third Party Ownership (TPO)
ALL Customer Types
TPO Code | Description | Project Qty | Total Capacity (kW) | Percent of Capacity
No | Did Not use TPO | 29071 | 830576.484 | 36.21%
Yes | Used TPO | 83371 | 1463358.233 | 63.79%
Totals |  | 112442 | 2293934.717 | 100%
RESIDENTIAL Only
TPO Code | Description | Project Qty | Total Capacity (kW) | Percent of Capacity
No | Did Not use TPO | 25046 | 226259.531 | 25.59%
Yes | Used TPO | 80969 | 657884.949 | 74.41%
Totals |  | 106015 | 884144.48 | 100%
Note: The above tables provide a summary of responses regarding the use of Third Party Ownership (TPO) as reported on the SRP Registration form by the registrant.

## Installations by County
New Jersey Solar Installations as of 06/30/19
(by County)
|  | County | Residential (kW) |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  | Total of All Projects as of 06/30/19 (kW) |  |  | Previously Reported through 05/31/19 |  | Difference between 05/31/19 and 06/30/19
[5 empty] | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | Total (kW)
|  |  | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity | % Installed Capacity | # Projects | Installed Capacity (Kw) | # Projects | Installed Capacity (Kw)
| 1 | Sussex | 998 | 9565.762 | 95 | 3338.242 | 45 | 15448.307 | 1 | 3373.65 | 141 | 22160.199 | 4 | 31844.63 | 1143 | 63570.591 | 2.186% | 1135 | 63338.551 | 8 | 232.04
| 2 | Warren | 978 | 9238.256 | 76 | 1830.341 | 33 | 12206.236 | 5 | 30565.85 | 114 | 44602.427 | 6 | 33184.624 | 1098 | 87025.307 | 2.992% | 1088 | 76877.077 | 10 | 10148.23
| 3 | Morris | 2804 | 22367.511 | 146 | 5790.146 | 122 | 36929.07 | 12 | 33744.74 | 280 | 76463.956 | 1 | 2936.64 | 3085 | 101768.107 | 3.499% | 3062 | 101511.497 | 23 | 256.61
| 4 | Hunterdon | 1485 | 15366.841 | 127 | 2722.861 | 23 | 6885.16 | 4 | 6248.43 | 154 | 15856.451 | 12 | 72299.075 | 1651 | 103522.367 | 3.56% | 1639 | 103351.057 | 12 | 171.31
| 5 | Somerset | 3452 | 29385.924 | 169 | 5967.924 | 142 | 43114.472 | 23 | 49243.121 | 334 | 98325.517 | 3 | 5755.86 | 3789 | 133467.301 | 4.589% | 3763 | 133218.641 | 26 | 248.66
| 6 | Passaic | 2616 | 19894.126 | 121 | 3441.514 | 99 | 30086.72 | 5 | 6454.114 | 225 | 39982.348 | 5 | 3514.01 | 2846 | 63390.484 | 2.18% | 2794 | 62372.674 | 52 | 1017.81
| 7 | Bergen | 4628 | 33289.626 | 270 | 10865.681 | 193 | 54726.731 | 5 | 6942.13 | 468 | 72534.542 | 1 | 1050.92 | 5097 | 106875.088 | 3.675% | 5036 | 106295.898 | 61 | 579.19
| 8 | Hudson | 1201 | 7985.261 | 94 | 3984.929 | 132 | 45940.714 | 13 | 20931.322 | 239 | 70856.965 | 7 | 9077.125 | 1447 | 87919.351 | 3.023% | 1421 | 86879.441 | 26 | 1039.91
| 9 | Essex | 3310 | 22151.881 | 155 | 5247.692 | 87 | 26739.166 | 9 | 18279.989 | 251 | 50266.847 | 15 | 12831.09 | 3576 | 85249.818 | 2.931% | 3537 | 84961.258 | 39 | 288.56
| 10 | Union | 4588 | 30958.919 | 159 | 7069.616 | 121 | 35398.168 | 11 | 16065.596 | 291 | 58533.38 | 10 | 6375.695 | 4889 | 95867.994 | 3.297% | 4848 | 95175.854 | 41 | 692.14
| 11 | Middlesex | 9215 | 71681.893 | 203 | 7361.936 | 282 | 102480.657 | 51 | 106987.028 | 536 | 216829.621 | 28 | 65025.551 | 9779 | 353537.065 | 12.16% | 9704 | 352944.895 | 75 | 592.17
| 12 | Mercer | 3784 | 31309.257 | 225 | 7266.87 | 107 | 35466.177 | 21 | 67154.098 | 353 | 109887.145 | 13 | 23946.235 | 4150 | 165142.637 | 5.679% | 4120 | 164843.487 | 30 | 299.15
| 13 | Burlington | 8827 | 76897.137 | 316 | 9467.867 | 132 | 42939.116 | 20 | 50507.282 | 468 | 102914.265 | 20 | 155557.295 | 9315 | 335368.697 | 11.53% | 9225 | 334519.887 | 90 | 848.81
| 14 | Camden | 8064 | 65951.575 | 199 | 6720.427 | 117 | 39100.4 | 13 | 31601.006 | 329 | 77421.833 | 12 | 12288.395 | 8405 | 155661.803 | 5.353% | 8342 | 155123.833 | 63 | 537.97
| 15 | Gloucester | 7053 | 64452.744 | 159 | 4532.646 | 78 | 28199.813 | 11 | 28958.56 | 248 | 61691.019 | 4 | 19639.025 | 7305 | 145782.788 | 5.013% | 7243 | 142167.588 | 62 | 3615.2
| 16 | Salem | 2112 | 22926.165 | 116 | 3320.461 | 20 | 5761.975 | 2 | 2955.3 | 138 | 12037.736 | 3 | 22196.885 | 2253 | 57160.786 | 1.966% | 2234 | 56962.016 | 19 | 198.77
| 17 | Monmouth | 9285 | 79544.653 | 435 | 11676.437 | 145 | 42980.223 | 11 | 25898.596 | 591 | 80555.256 | 12 | 78096.81 | 9888 | 238196.719 | 8.191% | 9812 | 237146.689 | 76 | 1050.03
| 18 | Ocean | 16187 | 134897.249 | 318 | 8866.498 | 162 | 45563.7 | 9 | 44523.52 | 489 | 98953.718 | 1 | 6103.5 | 16677 | 239954.467 | 8.251% | 16558 | 215334.347 | 119 | 24620.12
| 19 | Atlantic | 8728 | 77199.68 | 274 | 7671.066 | 99 | 27019.869 | 7 | 12944.48 | 380 | 47635.415 | 2 | 13168.82 | 9110 | 138003.915 | 4.745% | 9033 | 134746.575 | 77 | 3257.34
| 20 | Cumberland | 2899 | 26433.593 | 118 | 3711.745 | 40 | 14409.51 | 8 | 17713.142 | 166 | 35834.397 | 9 | 39329.13 | 3074 | 101597.12 | 3.494% | 3041 | 101209.22 | 33 | 387.9
| 21 | Cape May | 3801 | 32646.427 | 202 | 5439.996 | 29 | 9172.644 | 1 | 1834.56 | 232 | 16447.2 | 0 | 0 | 4033 | 49093.627 | 1.688% | 3985 | 48637.917 | 48 | 455.71
|  | TOTALS | 106015 | 884144.48 | 3977 | 126294.895 | 2208 | 700568.828 | 242 | 582926.514 | 6427 | 1409790.237 | 168 | 614221.315 | 112610 | 2908156.032 | 100% | 111620 | 2857618.402 | 990 | 50537.63
Note: Once a Permission to Operate (PTO) is received, the date is updated in our system and the capacity listed in the initial registration is included in the installation report. Although the PTO was received, the capacity is not updated in our system until the final as-built has been received and reviewed.

## Definitions
SRP Registration Program Status Definitions |  | Description of Codes Used In Project List
Accepted | An SRP Registration has been reviewed and an SRP Acceptance letter has been issued. | County Code | County | TPO Code | Description
|  | 1 | Sussex | No | Did Not use TPO
As-Built Complete | Documents have been approved by program staff. Applicant will receive an email indicating a waiver of inspection or that an onsite inspection will be required. | 2 | Warren | Yes | Used TPO
|  | 3 | Morris | Blank | Unknown
As-Built Incomplete | Program staff has found minor issue(s) for the contractor to address. An email has been sent to the applicant indicating the required deficiencies. | 4 | Hunterdon | TPO = Third Party Ownership
|  | 5 | Somerset
As-Built Incomplete - Review | The contractor has submitted the requested deficiencies. The program staff will review the deficiencies. | 6 | Passaic
|  | 7 | Bergen
Final As-Built Received | The Final As-Built packet has been submitted and the program staff will review the As-Built documentation. | 8 | Hudson
|  | 9 | Essex
Final As-Built Received - Grid-Supply | The Final As-Built packet has been submitted and the program staff will review the As-Built documentation. | 10 | Union
|  | 11 | Middlesex
Onsite Inspection | The SRP Registration has been randomly selected for an on-site inspection and will be performed by an SRP Program Inspector | 12 | Mercer
|  | 13 | Burlington
Registration Complete | The inspection has passed or the verification waiver notice has been sent. The project is complete and the NJ Certification Number was emailed to the system owner | 14 | Camden
|  | 15 | Gloucester
|  | 16 | Salem
|  | 17 | Monmouth
|  | 18 | Ocean
|  | 19 | Atlantic
|  | 20 | Cumberland
|  | 21 | Cape May