## Annual Capacity
New Jersey Solar Installations Annually as of 5/31/18
[16 empty] | Previously Reported through 4/30/18 |  | Difference between 4/30/18 and 5/31/18
|  | Residential (kW) |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  | Total of All Projects as of 5/31/18 (kW)
|  |  |  | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | Total (kW) | [5 empty] | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
2012-01-01 | Year | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity
| 2000 | 4 | 11.85 | 2 | 11.04 | 0 | 0 | 0 | 0 | 2 | 11.04 | 0 | 0 | 6 | 22.89 | 6 | 22.89 | 0 | 0
| 2001 | 2 | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5.25 | 2 | 5.25 | 0 | 0
| 2002 | 25 | 72.82 | 9 | 324 | 1 | 262.14 | 0 | 0 | 10 | 586.14 | 0 | 0 | 35 | 658.96 | 35 | 658.96 | 0 | 0
| 2003 | 65 | 364.932 | 17 | 281.9 | 1 | 479.8 | 0 | 0 | 18 | 761.7 | 0 | 0 | 83 | 1126.632 | 83 | 1126.632 | 0 | 0
| 2004 | 253 | 1529.898 | 42 | 382.006 | 2 | 623.385 | 0 | 0 | 44 | 1005.391 | 0 | 0 | 297 | 2535.289 | 297 | 2535.289 | 0 | 0
| 2005 | 628 | 4633.506 | 78 | 1029.883 | 16 | 3923.08 | 0 | 0 | 94 | 4952.963 | 0 | 0 | 722 | 9586.469 | 722 | 9586.469 | 0 | 0
| 2006 | 747 | 5352.613 | 105 | 1881.529 | 36 | 11097.32 | 0 | 0 | 141 | 12978.849 | 0 | 0 | 888 | 18331.462 | 888 | 18331.462 | 0 | 0
| 2007 | 527 | 3852.346 | 95 | 2133.445 | 26 | 8352.908 | 0 | 0 | 121 | 10486.353 | 0 | 0 | 648 | 14338.699 | 648 | 14338.699 | 0 | 0
| 2008 | 654 | 4920.557 | 170 | 3874.197 | 44 | 13247.054 | 4 | 6134.26 | 218 | 23255.511 | 0 | 0 | 872 | 28176.068 | 872 | 28176.068 | 0 | 0
| 2009 | 1059 | 8031.838 | 242 | 6797.993 | 88 | 24235.758 | 9 | 15298.59 | 339 | 46332.341 | 5 | 3370.56 | 1403 | 57734.739 | 1403 | 57734.739 | 0 | 0
| 2010 | 2137 | 16495.493 | 379 | 12744.752 | 154 | 45624.902 | 12 | 20986.6 | 545 | 79356.254 | 19 | 25187.34 | 2701 | 121039.087 | 2701 | 121039.087 | 0 | 0
| 2011 | 5116 | 42951.69 | 821 | 26304.741 | 435 | 134006.34 | 50 | 106495.593 | 1306 | 266806.674 | 51 | 137618.951 | 6473 | 447377.315 | 6473 | 447377.315 | 0 | 0
2014-01-01 | 2012 | 5312 | 45862.749 | 626 | 22259.157 | 413 | 120416.802 | 47 | 87882.441 | 1086 | 230558.4 | 23 | 56793.804 | 6421 | 333214.953 | 6421 | 333214.953 | 0 | 0
| 2013 | 5959 | 47946.476 | 264 | 10656.124 | 228 | 74009.281 | 26 | 64412.16 | 518 | 149077.565 | 18 | 23162.1 | 6495 | 220186.141 | 6495 | 220186.141 | 0 | 0
| 2014 | 6825 | 55323.284 | 116 | 4314.394 | 102 | 35309.278 | 10 | 45163.02 | 228 | 84786.692 | 8 | 63370.64 | 7061 | 203480.616 | 7060 | 203467.866 | 1 | 12.75
2015-01-01 | 2015 | 12813 | 101405.36 | 109 | 3651.21 | 86 | 27254.1 | 7 | 21629.63 | 202 | 52534.94 | 8 | 41683.64 | 13023 | 195623.94 | 13012 | 194902.79 | 11 | 721.15
2016-01-01 | 2016 | 21711 | 179053.24 | 202 | 6231.68 | 122 | 42645.64 | 18 | 42479.69 | 342 | 91357.01 | 22 | 136222.11 | 22075 | 406632.36 | 22065 | 406570.8 | 10 | 61.56
2017-01-01 | 2017 | 18317 | 157458.455 | 264 | 9149.64 | 165 | 61212.2 | 22 | 57718.49 | 451 | 128080.33 | 7 | 57156.89 | 18775 | 342695.675 | 18678 | 341939.265 | 97 | 756.41
2017-01-01 | 2018 | 6035 | 51857.52 | 97 | 3455.94 | 75 | 28168.49 | 3 | 3853.92 | 175 | 35478.35 | 1 | 9997.65 | 6211 | 97333.52 | 4880 | 72191.92 | 1331 | 25141.6
| Total | 88189 | 727129.877 | 3638 | 115483.631 | 1994 | 630868.478 | 208 | 472054.394 | 5840 | 1218406.503 | 162 | 554563.685 | 94191 | 2500100.065 | 92741 | 2473406.595 | 1450 | 26693.47
*Note: All projects with a Permission to Operate (“PTO”) date will be reported as installed in the month/year in which the PTO was issued. There are 428 projects, mostly older, that did not report a PTO date to the program. These projects are reported as installed in the month/year in which the project reached QA/QC status.

## Monthly Capacity
New Jersey Solar Installations by Month as of 5/31/18
| Residential (kW) |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  | Total of All Projects (kW) as of 5/31/18 |  | Previously Reported through 4/30/18 |  | Difference between 4/30/18 and 5/31/18
|  |  | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | Total (kW)
Annual Totals in Aggregate | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
2000-2011 | 11217 | 88222.793 | 1960 | 55765.486 | 803 | 241852.687 | 75 | 148915.043 | 2838 | 446533.216 | 75 | 166176.851 | 14130 | 700932.86 | 14130 | 700932.86 | 0 | 0
2012 | 5312 | 45862.749 | 626 | 22259.157 | 413 | 120416.802 | 47 | 87882.441 | 1086 | 230558.4 | 23 | 56793.804 | 6421 | 333214.953 | 6421 | 333214.953 | 0 | 0
2013 | 5959 | 47946.476 | 264 | 10656.124 | 228 | 74009.281 | 26 | 64412.16 | 518 | 149077.565 | 18 | 23162.1 | 6495 | 220186.141 | 6495 | 220186.141 | 0 | 0
2014 | 6825 | 55323.284 | 116 | 4314.394 | 102 | 35309.278 | 10 | 45163.02 | 228 | 84786.692 | 8 | 63370.64 | 7061 | 203480.616 | 7060 | 203467.866 | 1 | 12.75
2015 | 12813 | 101405.36 | 109 | 3651.21 | 86 | 27254.1 | 7 | 21629.63 | 202 | 52534.94 | 8 | 41683.64 | 13023 | 195623.94 | 13012 | 194902.79 | 11 | 721.15
2001-2015 Total | 42126 | 338760.662 | 3075 | 96646.371 | 1632 | 498842.148 | 165 | 368002.294 | 4872 | 963490.813 | 132 | 351187.035 | 47130 | 1653438.51 | 47118 | 1652704.61 | 12 | 733.9
2016-01-01 | 1273 | 10277.68 | 8 | 288.85 | 4 | 941.95 | 0 | 0 | 12 | 1230.8 | 2 | 13808.06 | 1287 | 25316.54 | 1287 | 25316.54 | 0 | 0
2016-02-01 | 1394 | 11147.43 | 16 | 367.09 | 8 | 2331.7 | 0 | 0 | 24 | 2698.79 | 2 | 12322.74 | 1420 | 26168.96 | 1420 | 26168.96 | 0 | 0
2016-03-01 | 1793 | 14628.34 | 18 | 443.24 | 9 | 3637.43 | 2 | 3738.92 | 29 | 7819.59 | 2 | 18727.51 | 1824 | 41175.44 | 1823 | 41167.9 | 1 | 7.54
2016-04-01 | 1397 | 11683.67 | 9 | 271.31 | 7 | 2016.14 | 1 | 2673.6 | 17 | 4961.05 | 2 | 19453.59 | 1416 | 36098.31 | 1415 | 36094.15 | 1 | 4.16
2016-05-01 | 2060 | 16608.04 | 16 | 441.09 | 9 | 2873.43 | 0 | 0 | 25 | 3314.52 | 5 | 23957.69 | 2090 | 43880.25 | 2087 | 43861.01 | 3 | 19.24
2016-06-01 | 2331 | 19123.74 | 14 | 387.55 | 10 | 3540.49 | 0 | 0 | 24 | 3928.04 | 1 | 5992.03 | 2356 | 29043.81 | 2356 | 29043.81 | 0 | 0
2016-07-01 | 1809 | 15122.89 | 23 | 900.08 | 6 | 2395.7 | 3 | 4537.07 | 32 | 7832.85 | 0 | 0 | 1841 | 22955.74 | 1840 | 22951.58 | 1 | 4.16
2016-08-01 | 2362 | 19562.53 | 19 | 557.08 | 11 | 2592.44 | 0 | 0 | 30 | 3149.52 | 0 | 0 | 2392 | 22712.05 | 2391 | 22708.93 | 1 | 3.12
2016-09-01 | 1828 | 15539.1 | 19 | 667.94 | 12 | 3195.31 | 1 | 3972.96 | 32 | 7836.21 | 2 | 3896.7 | 1862 | 27272.01 | 1861 | 27265.57 | 1 | 6.44
2016-10-01 | 1719 | 14092.55 | 28 | 807.5 | 8 | 3068.61 | 4 | 14381.37 | 40 | 18257.48 | 3 | 23799.69 | 1762 | 56149.72 | 1762 | 56149.72 | 0 | 0
2016-11-01 | 1681 | 14030.74 | 15 | 501.16 | 17 | 8835.62 | 5 | 9955.48 | 37 | 19292.26 | 0 | 0 | 1718 | 33323 | 1717 | 33318.06 | 1 | 4.94
2016-12-01 | 2064 | 17236.53 | 17 | 598.79 | 21 | 7216.82 | 2 | 3220.29 | 40 | 11035.9 | 3 | 14264.1 | 2107 | 42536.53 | 2106 | 42524.57 | 1 | 11.96
2016 Total | 21711 | 179053.24 | 202 | 6231.68 | 122 | 42645.64 | 18 | 42479.69 | 342 | 91357.01 | 22 | 136222.11 | 22075 | 406632.36 | 22065 | 406570.8 | 10 | 61.56
2017-01-01 | 2011 | 16689.71 | 50 | 1731.05 | 16 | 7457.86 | 0 | 0 | 66 | 9188.91 | 1 | 7746.05 | 2078 | 33624.67 | 2073 | 33591.39 | 5 | 33.28
2017-02-01 | 1956 | 16717.94 | 13 | 443.59 | 16 | 5532.4 | 0 | 0 | 29 | 5975.99 | 0 | 0 | 1985 | 22693.93 | 1982 | 22672.76 | 3 | 21.17
2017-03-01 | 1641 | 14398.35 | 27 | 699.19 | 15 | 4826.17 | 2 | 5702.92 | 44 | 11228.28 | 1 | 9997.99 | 1686 | 35624.62 | 1682 | 35599.1 | 4 | 25.52
2017-04-01 | 1170 | 9956.78 | 9 | 403.17 | 15 | 5884.98 | 0 | 0 | 24 | 6288.15 | 0 | 0 | 1194 | 16244.93 | 1193 | 16231.88 | 1 | 13.05
2017-05-01 | 1461 | 12710.215 | 18 | 809.65 | 7 | 1781.04 | 1 | 1450 | 26 | 4040.69 | 1 | 2496 | 1488 | 19246.905 | 1488 | 19246.905 | 0 | 0
2017-06-01 | 1562 | 13125.37 | 9 | 405.67 | 12 | 4309.47 | 1 | 1035.45 | 22 | 5750.59 | 3 | 36512.93 | 1587 | 55388.89 | 1580 | 55333.51 | 7 | 55.38
2017-07-17 | 1365 | 11711.9 | 15 | 464.07 | 3 | 602.02 | 0 | 0 | 18 | 1066.09 | 0 | 0 | 1383 | 12777.99 | 1378 | 12739.21 | 5 | 38.78
2017-08-01 | 1445 | 12234.39 | 30 | 964.86 | 18 | 7358.6 | 1 | 7509.24 | 49 | 15832.7 | 0 | 0 | 1494 | 28067.09 | 1489 | 28030.97 | 5 | 36.12
2017-09-01 | 1539 | 13205.2 | 21 | 1011.42 | 10 | 3297.47 | 5 | 8217.88 | 36 | 12526.77 | 0 | 0 | 1575 | 25731.97 | 1565 | 25659.32 | 10 | 72.65
2017-10-01 | 1434 | 12273.56 | 19 | 532.17 | 15 | 5501.54 | 2 | 10819.84 | 36 | 16853.55 | 0 | 0 | 1470 | 29127.11 | 1449 | 28935.49 | 21 | 191.62
2017-11-01 | 1400 | 12542.78 | 19 | 634.09 | 12 | 3494.65 | 4 | 10600.68 | 35 | 14729.42 | 1 | 403.92 | 1436 | 27676.12 | 1416 | 27514.74 | 20 | 161.38
2017-12-01 | 1333 | 11892.26 | 34 | 1050.71 | 26 | 11166 | 6 | 12382.48 | 66 | 24599.19 | 0 | 0 | 1399 | 36491.45 | 1383 | 36383.99 | 16 | 107.46
2017 Total | 18317 | 157458.455 | 264 | 9149.64 | 165 | 61212.2 | 22 | 57718.49 | 451 | 128080.33 | 7 | 57156.89 | 18775 | 342695.675 | 18678 | 341939.265 | 97 | 756.41
2018-01-01 | 1334 | 11704.33 | 32 | 1025.7 | 25 | 8452.56 | 1 | 1591.2 | 58 | 11069.46 | 0 | 0 | 1392 | 22773.79 | 1321 | 22216.04 | 71 | 557.75
2018-02-01 | 1310 | 11131.47 | 24 | 773.33 | 23 | 9002.24 | 0 | 0 | 47 | 9775.57 | 0 | 0 | 1357 | 20907.04 | 1255 | 19939.03 | 102 | 968.01
2018-03-01 | 1121 | 9607.91 | 15 | 593.75 | 8 | 2548.07 | 0 | 0 | 23 | 3141.82 | 0 | 0 | 1144 | 12749.73 | 1078 | 12044.81 | 66 | 704.92
2018-04-01 | 1365 | 11398.46 | 19 | 787.78 | 17 | 6893.84 | 1 | 1228.8 | 37 | 8910.42 | 0 | 0 | 1402 | 20308.88 | 1226 | 17992.04 | 176 | 2316.84
2018-05-01 | 905 | 8015.35 | 7 | 275.38 | 2 | 1271.78 | 1 | 1033.92 | 10 | 2581.08 | 1 | 9997.65 | 916 | 20594.08 | 0 | 0 | 916 | 20594.08
2018 Total | 6035 | 51857.52 | 97 | 3455.94 | 75 | 28168.49 | 3 | 3853.92 | 165 | 32897.27 | 1 | 9997.65 | 6211 | 97333.52 | 4880 | 72191.92 | 1331 | 25141.6
Total | 88189 | 727129.877 | 3638 | 115483.631 | 1994 | 630868.478 | 208 | 472054.394 | 5830 | 1215825.423 | 162 | 554563.685 | 94191 | 2500100.065 | 92741 | 2473406.595 | 1450 | 26693.47
.
Note: The monthly installations shown above include only those projects that have reported a PTO date to the SRP processing team (and/or the 428 projects that did not report a PTO date, but are “considered” or “counted as” installed when the project reached QA/QC status). The “final total” amount installed in any month will not be known until all projects installed in that month submit a PTO date. Therefore, for example, the amount shown for any given month should not be interpreted as the final total amount installed in that month “but simply the quantity that have submitted PTOs.” Based on the above data, we are seeing an overall lag time of 1-2 months between when a project obtains a PTO and when it submits the PTO to the SRP team. The monthly installation number will be updated as additional PTO dates are reported.

## Interconnection & Customer Type
New Jersey Solar Installations by Interconnection Type as of 5/31/18
Interconnection Type | # Projects | Installed Capacity (kW) | % of Installed Capacity
Behind the meter | 94029 | 1945536.38 | 77.82%
Grid Supply | 162 | 554563.685 | 22.18%
Total | 94191 | 2500100.065 | 100%
BEHIND THE METER Project Installations by Customer Type
Customer Type | # Projects | Installed Capacity (kW) | % of Installed Capacity
Commercial | 4101 | 910539.784 | 46.8%
Farm | 126 | 4810.651 | 0.2473%
Government | 86 | 17392.307 | 0.894%
Municipality | 232 | 48112.923 | 2.473%
Non Profit | 556 | 40705.799 | 2.092%
Residential | 88189 | 727129.877 | 37.37%
School Other | 106 | 35035.777 | 1.801%
School Public K-12 | 515 | 135770.411 | 6.979%
Sunlit | 59 | 1523.361 | 0.0783%
University Private | 12 | 1223.917 | 0.06291%
University Public | 47 | 23291.573 | 1.197%
Total | 94029 | 1945536.38 | 100%
GRID SUPPLY Project Installations by Subsection |  |  |  | Previously Reported through 4/30/18 |  | Difference between 4/30/18 and 5/31/18 Report
Description | Project Qty | Installed Capacity (kW) | % of Installed Capacity | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
EDC | 80 | 80859.649 | 14.58% | 80 | 80859.649 | 0 | 0
Subsection q | 31 | 194412.08 | 35.06% | 30 | 184414.43 | 1 | 9997.65
Subsection s | 8 | 54498.6 | 9.827% | 8 | 54498.6 | 0 | 0
Subsection t | 10 | 102267.64 | 18.44% | 10 | 102267.64 | 0 | 0
Pre Solar Act | 33 | 122525.716 | 22.09% | 33 | 122525.716 | 0 | 0
Totals | 162 | 554563.685 | 100% | 161 | 544566.035 | 1 | 9997.65
Note: The following new Grid project was added to the May 2018 Installation report:
Registration Number | Subsection | Date PTO was Issued | Initial Registration Capacity (kW)
NJSRRE1535865935 | q | 2018-05-21 | 9997.65

## TPO Summary
New Jersey Solar Installations
Summary of Third Party Ownership (TPO)
BEHIND THE METER Projects as of 5/31/18
ALL Customer Types
TPO Code | Description | Project Qty | Total Capacity (kW) | Percent of Capacity
No | Did Not use TPO | 14121 | 413028.631 | 24.87%
Yes | Used TPO | 71115 | 1247515.914 | 75.13%
Totals |  | 85236 | 1660544.545 | 100%
Blank | Unkown | 8793 | 284991.835
RESIDENTIAL Only
TPO Code | Description | Project Qty | Total Capacity (kW) | Percent of Capacity
No | Did Not use TPO | 12303 | 113081.316 | 16.77%
Yes | Used TPO | 68965 | 561046.4 | 83.23%
Totals |  | 81268 | 674127.716 | 100%
Blank | Unkown | 6921 | 53002.161
Note: The above tables provide a summary of responses regarding the use of Third Party Ownership (TPO) as reported on the SRP Registration form by the registrant. The quantities for the projects that are listed as "Unknown" are provided as a reference but are not included in the Totals or the Percent of Capacity calculation.

## Installations by County
New Jersey Solar Installations by County as of 5/31/18
| County | Residential (kW) |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  | Total of All Projects as of 5/31/18 (kW) |  |  | Previously Reported through 4/30/18 |  | Difference between 4/30/18 and 5/31/18 Report
|  |  |  | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | Total (kW)
|  | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity | % Installed Capacity | # Projects | Installed Capacity (Kw) | # Projects | Installed Capacity (Kw)
1 | Sussex | 862 | 8074.972 | 90 | 3119.502 | 45 | 15448.307 | 0 | 0 | 135 | 18567.809 | 4 | 31844.63 | 1001 | 58487.411 | 2.339% | 996 | 58396.251 | 5 | 91.16
2 | Warren | 833 | 7723.896 | 74 | 1782.601 | 33 | 12206.236 | 5 | 30565.85 | 112 | 44554.687 | 5 | 23185.204 | 950 | 75463.787 | 3.018% | 937 | 74828.837 | 13 | 634.95
3 | Morris | 2381 | 18265.341 | 135 | 5398.326 | 119 | 36215.01 | 12 | 33744.74 | 266 | 75358.076 | 1 | 2936.64 | 2648 | 96560.057 | 3.862% | 2624 | 96362.547 | 24 | 197.51
4 | Hunterdon | 1338 | 13560.021 | 120 | 2506.081 | 23 | 6885.16 | 2 | 2634.41 | 145 | 12025.651 | 11 | 62301.745 | 1494 | 87887.417 | 3.515% | 1487 | 77817.467 | 7 | 10069.95
5 | Somerset | 2993 | 25252.734 | 164 | 5865.034 | 133 | 40724.082 | 20 | 44788.851 | 317 | 91377.967 | 3 | 5755.86 | 3313 | 122386.561 | 4.895% | 3285 | 122192.281 | 28 | 194.28
6 | Passaic | 2032 | 15035.126 | 109 | 3191.124 | 84 | 26933.75 | 5 | 6454.114 | 198 | 36578.988 | 5 | 3514.01 | 2235 | 55128.124 | 2.205% | 2183 | 54692.454 | 52 | 435.67
7 | Bergen | 3610 | 25097.736 | 251 | 10337.057 | 180 | 50884.391 | 5 | 6942.13 | 436 | 68163.578 | 1 | 1050.92 | 4047 | 94312.234 | 3.772% | 3983 | 93888.604 | 64 | 423.63
8 | Hudson | 886 | 5832.531 | 82 | 3489.849 | 119 | 41031.774 | 10 | 15662.452 | 211 | 60184.075 | 7 | 9077.125 | 1104 | 75093.731 | 3.004% | 1078 | 74904.371 | 26 | 189.36
9 | Essex | 2597 | 17056.581 | 149 | 5134.872 | 79 | 23124.176 | 7 | 14222.819 | 235 | 42481.867 | 15 | 12831.09 | 2847 | 72369.538 | 2.895% | 2812 | 72061.488 | 35 | 308.05
10 | Union | 3713 | 24540.419 | 148 | 6619.046 | 106 | 29966.388 | 11 | 16065.596 | 265 | 52651.03 | 10 | 6375.695 | 3988 | 83567.144 | 3.343% | 3906 | 82737.854 | 82 | 829.29
11 | Middlesex | 7640 | 58428.533 | 184 | 6592.956 | 261 | 94117.147 | 47 | 98333.698 | 492 | 199043.801 | 27 | 52026.851 | 8159 | 309499.185 | 12.38% | 8003 | 306949.995 | 156 | 2549.19
12 | Mercer | 3147 | 25826.417 | 216 | 6839.58 | 97 | 32923.887 | 20 | 61705.228 | 333 | 101468.695 | 13 | 23946.235 | 3493 | 151241.347 | 6.049% | 3441 | 150548.837 | 52 | 692.51
13 | Burlington | 7494 | 64736.549 | 282 | 8445.997 | 120 | 38755.836 | 16 | 34969.512 | 418 | 82171.345 | 19 | 142561.295 | 7931 | 289469.189 | 11.58% | 7814 | 288061.929 | 117 | 1407.26
14 | Camden | 6610 | 53773.195 | 181 | 6309.317 | 100 | 33701.14 | 11 | 29110.526 | 292 | 69120.983 | 11 | 9315.655 | 6913 | 132209.833 | 5.288% | 6794 | 130202.243 | 119 | 2007.59
15 | Gloucester | 5680 | 51423.114 | 137 | 3980.186 | 67 | 22718.103 | 7 | 16088.11 | 211 | 42786.399 | 4 | 19639.025 | 5895 | 113848.538 | 4.554% | 5776 | 112674.368 | 119 | 1174.17
16 | Salem | 1667 | 18124.065 | 106 | 2995.121 | 19 | 5547.355 | 2 | 2955.3 | 127 | 11497.776 | 3 | 22196.885 | 1797 | 51818.726 | 2.073% | 1748 | 51273.396 | 49 | 545.33
17 | Monmouth | 7880 | 66635.318 | 397 | 10299.377 | 110 | 31848.473 | 9 | 23145.076 | 516 | 65292.926 | 11 | 67403.37 | 8407 | 199331.614 | 7.973% | 8299 | 198143.594 | 108 | 1188.02
18 | Ocean | 13928 | 114085.909 | 287 | 7654.668 | 146 | 41647.03 | 5 | 5567.83 | 438 | 54869.528 | 1 | 6103.5 | 14367 | 175058.937 | 7.002% | 14173 | 173218.907 | 194 | 1840.03
19 | Atlantic | 7370 | 64732.05 | 227 | 6280.126 | 88 | 23620.379 | 5 | 9550.45 | 320 | 39450.955 | 2 | 13168.82 | 7692 | 117351.825 | 4.694% | 7568 | 116128.325 | 124 | 1223.5
20 | Cumberland | 2412 | 22337.533 | 108 | 3416.395 | 38 | 14155.99 | 8 | 17713.142 | 154 | 35285.527 | 9 | 39329.13 | 2575 | 96952.19 | 3.878% | 2535 | 96633.23 | 40 | 318.96
21 | Cape May | 3116 | 26587.837 | 191 | 5226.416 | 27 | 8413.864 | 1 | 1834.56 | 219 | 15474.84 | 0 | 0 | 3335 | 42062.677 | 1.682% | 3299 | 41689.617 | 36 | 373.06
| TOTALS | 88189 | 727129.877 | 3638 | 115483.631 | 1994 | 630868.478 | 208 | 472054.394 | 5840 | 1218406.503 | 162 | 554563.685 | 94191 | 2500100.065 | 100% | 92741 | 2473406.595 | 1450 | 26693.47
Note: Once a Permission to Operate (PTO) is received, the date is updated in our system and the capacity listed in the initial registration is included in the installation report. Although the PTO was received, the capacity is not updated in our system until the final as-built has been received and reviewed.

## Definitions
SRP Registration Program Status Definitions |  | Description of Codes Used In Project List
Accepted | An SRP Registration has been reviewed and an SRP Acceptance letter has been issued. | County Code | County | TPO Code | Description
|  | 1 | Sussex | No | Did Not use TPO
As-Built Complete | Documents have been approved by program staff. Applicant will receive an email indicating a waiver of inspection or that an onsite inspection will be required. | 2 | Warren | Yes | Used TPO
|  | 3 | Morris | Blank | Unknown
As-Built Incomplete | Program staff has found minor issue(s) for the contractor to address. An email has been sent to the applicant indicating the required deficiencies. | 4 | Hunterdon | TPO = Third Party Ownership
|  | 5 | Somerset
As-Built Incomplete - Review | The contractor has submitted the requested deficiencies. The program staff will review the deficiencies. | 6 | Passaic
|  | 7 | Bergen
Final As-Built Received | The Final As-Built packet has been submitted and the program staff will review the As-Built documentation. | 8 | Hudson
|  | 9 | Essex
Final As-Built Received - Grid-Supply | The Final As-Built packet has been submitted and the program staff will review the As-Built documentation. | 10 | Union
|  | 11 | Middlesex
Onsite Inspection | The SRP Registration has been randomly selected for an on-site inspection and will be performed by an SRP Program Inspector | 12 | Mercer
|  | 13 | Burlington
Registration Complete | The inspection has passed or the verification waiver notice has been sent. The project is complete and the NJ Certification Number was emailed to the system owner | 14 | Camden
|  | 15 | Gloucester
|  | 16 | Salem
|  | 17 | Monmouth
|  | 18 | Ocean
|  | 19 | Atlantic
|  | 20 | Cumberland
|  | 21 | Cape May