## Instructions
2020 Transition Incentive Program (TI)
TI Final As-Built Technical Worksheet
Instructions Page
A. PREMISE CONTACT INFORMATION
Premise Contact Name: The Premise Contact is the name of the site host and the name listed in the online portal under "Premise Contact".
Premise Company Name (if applicable): The name of the company listed in the online portal under "Premise Contact Company Name".
Premise Address: The street address and city the solar array is installed.
TI Application Number: The Transition Incentive Project number that was issued on the TI Acceptance letter and assigned to the application in the online portal.
B: INTERCONNECTION TYPE (Choose one)
Behind The Meter solar PV system is a customer -generator facility defined at N.J.A.C. 14:8-4.2, which is interconnected with a New Jersey Electric Distribution Company (EDC) and receives retail credit for the electricity produced via net metering.
Grid Supply solar PV system is a merchant power generator interconnected to the New Jersey distribution system in compliance with federal rules established for wholesale electricity managed by PJM Inteconnection, LLC, the regional transmission operator.
C: PROJECT TYPE
The Transition Incentive is structured as a factorized renewable energy certificate. The factors allow the TI Program to provide differentiated financial incentives for different types of solar installations. Using the table below, the project must be identified in the online portal and on the Final As Built Technical Worksheet to determine the appropriate factor for TREC eligibility. Applicants with projects for which more than one factor apply (e.g., a project that is partially roof mounted and partially ground mounted) may split their project and submit separate applications for each project type. Each project must have a distinct ANSI c-12 revenue grade meter dedicated solely to its TREC creation. Each application will receive a distinct TI project number, acceptance date and expiration date and NJ Certification Number. Failure to split the project into two separate projects and applications would result in the lower factor applying to the entire project.
| Project Type | Factor
| 1. Subsection (t); landfill, brownfield, areas of historic fill | 1
| 2. Grid Supply (subsection (r)) rooftop | 1
| 3. Net-Metered non-residential rooftop and canopy | 1
| 4. Community Solar | 0.85
| 5. Grid Supply (subsection (r)) ground mount | 0.6
| 6. Net-Metered residential ground mount | 0.6
| 7. Net-Metered residential rooftop and canopy | 0.6
| 8. Net Metered non-residential ground mount | 0.6
| 9. Floating Solar | 0.6
D: SOLAR SYSTEM INFORMATION
Solar Electric Module & Array Data: The equipment listed in this section of the TI Final As-Built Worksheet must be a true representation of the equipment installed at the site. Detailed array data is required to be entered in the online portal. If the system consists of multiple array planes and/or orientations, indicate in the online portal under the Equipment Section, the orientation, tilt and modules per string, per inverter for each array plane. See Exhibit A below for examples on how to enter detailed array data in the online portal.
Inverter Information: The equipment listed in this section of the TI Final As-Built Worksheet must be a true representation of the equipment installed at the site. Detailed inverter data is required to be entered in the online portal. If the system consists of multiple inverters, please indicate the equipment information in the online portal under the Equipment Section for each inverter installed at the site. See Exhibit B below for examples on how to enter detailed inverter data in the online portal.
Revenue Grade Meter: All solar energy systems eligible to earn TRECs must report system production based upon readings from a revenue-grade meter that meets the American National Standards Institute (ANSI) Standard C12.1-2008. This meter is in addition to the electric meter installed by the local utility to measure the home or business’ electric consumption. TRECs will be issued to systems based only upon readings obtained from a revenue-grade meter measuring the system output. See Board-approved rule amendments for the TI Program at proposed N.J.A.C. 14:8-10.
E. SYSTEM COST INFORMATION
Applicants must supply cost information that is accurate and has been updated to reflect the total installed cost of the as-built system as of the date of this submittal. If an Electric Storage battery is installed at the site with the solar system, installed costs must be captured separately for the solar and electric storage in the appropriate fields in this section of the Final As-Built Technical Worksheet. Cost can be submitted for protection under OPRA by following the Board of Public Utilities’ procedures found at www.nj.gov/bpu.
F. CERTIFICATION (SIGNATURES REQUIRED)
By signing the certification, the Installer/Developer, Premise Contact (Applicant) and Primary Contact (TREC Owner) if different, attest to the accuracy and completeness of the information and that the solar system has been installed according to manufacturer’s instructions. A certified digital signature is accepted.

## Solar Final As Built TWS
2020 Transition Incentive Program (TI)
TI Final As-Built Technical Worksheet
A. PREMISE CONTACT INFORMATION
| Premise Contact Name: |  |  | TI Application Number:
Premise Company Name:
Premise Address:
B: INTERCONNECTION TYPE
| Behind the Meter | Grid Supply
C: PROJECT TYPE
1 | Subsection (t) Landfill, Brownfield, Areas of Historic Fill
2 | Grid Supply (Subsection r) Rooftop
3 | Net-Metered Non-Residential Rooftop and Canopy
4 | Community Solar
5 | Grid Supply (Subsection r) Ground Mount
6 | Net-Metered Residential Ground Mount
7 | Net-Metered Residential Rooftop and Canopy
8 | Net-Metered Non-Residential Ground Mount
9 | Floating Solar
D: SOLAR SYSTEM INFORMATION
Solar Electric Modules
| System Size (DC Watts) |  | Quantity of Modules
Inverter Information
| Quantity of Inverter(s) |  | Location of Inverter(s)
Revenue Grade Production Meter
A revenue grade-kilowatt hour (kWh) production meter which is certified by the American National Standards Institue (ANSI) within C12.1-2008 standards, is required for all solar installations. The production meter is installed in addition to the bi-directional utility meter, in order to capture total production before consumption.
| Quantity of Meter(s) |  | Location of Meter(s)
E. TOTAL SYSTEM COST INFORMATION
Total Installed System Cost for Solar |  |  | $
(Eligible installed system cost includes all equipment, installation and applicable interconnection costs for solar system)
Total Installed System Cost for Electric Storage (if applicable): |  |  |  |  | $
(Eligible installed system cost includes all equipment, installation and applicable costs for Electric Storage Battery)
Applicants must supply cost information that is accurate and current as of the application date. TI Applications will not be processed without system cost information. Cost can be submitted for protection under OPRA by following the Board's procedures found at www.nj.gov/bpu.
F. CERTIFICATION (SIGNATURES REQUIRED)
The undersigned by signing below attest to the accuracy and completeness of the above and any information provided with this submittal. If the SRP Processing Team determines through an evaluation process of either on-site inspection or audit that the system has been misrepresented or that the paper work submittal is found to have violated program procedures then the contractor may be subject to corrective action as described in the Contractor Remediation Procedures specified in the Board Order dated January 25, 2017, Docket no. QO16040353.
I agree that this document and all notices and disclosures made or given relating to this document may be created, executed, delivered and retained electronically and that the electronic signatures appearing on this document and any related documents shall have the same legal effect for all purposes as a handwritten signature. The information, statements, and documents I have provided in and with this document are true and accurate to the best of my knowledge. I am aware that if any of them are willfully false, I am subject to punishment.
The signature for the installer shall be an Officer, Principle or Executive of the company that has signing authority for the company.
Primary Contact (TREC Owner) |  |  | Installer / Developer |  |  | Premise Contact
(Print Name): |  |  | (Print Name): |  |  | (Print Name):
Signature |  |  | Signature: |  |  | Signature:
Date: |  |  | Date: |  |  | Date: